## Summary
3DPAWS NETWORK VALIDATION REPORT
Station | FEWSNET Kenya Trans-Nzoia:KALRO-Kitale Station.
Instrument | FEWSNET Kenya Trans-Nzoia:KALRO-Kitale Station.
Observation Period | Unknown
Latitude | 1.002697
Longitude | 34.5946
Elevation | 3074.0
Overall Status | WARNING
Records Processed | 24863

## Parameter Validation
PARAMETER VALIDATION
Parameter | Sensor | Sensor Status | Records | Missing | Unrealistic | Spikes | Constant | Persistence | Result | Issues
Temperature | mt1 | WORKING | 24863 | 0 | 0 | 19 | PASS | WARNING | WARNING | 19 spikes detected, Persistence issue detected
Temperature Secondary | st1 | WORKING | 24863 | 0 | 0 | 17 | PASS | WARNING | WARNING | 17 spikes detected, Persistence issue detected
Humidity | sh1 | WORKING | 24863 | 0 | 0 | 41 | PASS | WARNING | WARNING | 41 spikes detected, Persistence issue detected
Pressure | bp1 | WORKING | 24863 | 0 | 16 | 115 | PASS | WARNING | WARNING | 16 unrealistic values, 115 spikes detected, Persistence issue detected
Rain Increment 1 | rg | WORKING | 24863 | 0 | 0 | 1 | PASS | WARNING | WARNING | 1 spikes detected, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WORKING | 24863 | 0 | 0 | 0 | PASS | WARNING | WARNING | Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset
Wet Bulb | wbt | WORKING | 24863 | 0 | 0 | 200 | PASS | WARNING | WARNING | 200 spikes detected, Persistence issue detected
Heat Index | hi | WORKING | 24863 | 0 | 0 | 215 | PASS | WARNING | WARNING | 215 spikes detected, Persistence issue detected
Wbgt | wbgt | WORKING | 24863 | 0 | 0 | 208 | PASS | WARNING | WARNING | 208 spikes detected, Persistence issue detected

## Dataset Validation
DATASET VALIDATION
Station | FEWSNET Kenya Trans-Nzoia:KALRO-Kitale Station.
Input File | kalro-kitale-station_inst-id-15.csv
Observation Period | Unknown
Rows Loaded | 24863
Columns Loaded | 24
Date Range | Unknown
Dataset Status | PASS
TIMESTAMP VALIDATION
Check | Status | Value
Chronological Order | PASS | Yes
Duplicate Timestamps | PASS | 0 duplicates
Sampling Interval | PASS | 900 sec
Missing Timestamp Gaps | WARNING | 52 gaps
SENSOR AVAILABILITY
Logical Sensor | Detected Column | Available
Temperature | mt1 | YES
Temperature Secondary | st1 | YES
Humidity | sh1 | YES
Pressure | bp1 | YES
Rain Increment 1 | rg | YES
Rain Increment 2 | rg2 | YES
Rain Total 1 | rgt | YES
Rain Total 2 | rgt2 | YES
Rain Previous 1 | rgp | YES
Rain Previous 2 | rgp2 | YES
Wet Bulb | wbt | YES
Heat Index | hi | YES
Wbgt | wbgt | YES
DATASET ISSUES
• 52 timestamp gaps detected

## Rainfall Validation
RAINFALL VALIDATION
RAINFALL SUMMARY
Gauge | Sensor | Status | Records | Issues
Rain Increment 1 | rg | WARNING | 24863 | 1 spikes detected, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WARNING | 24863 | Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset
RAINFALL INTEGRITY CHECKS
RAINFALL STATISTICS
Metric | RG1 | RG2
Total Rainfall (mm) | 14442 | 362.2
Maximum Daily Rain (mm) | 5830 | 56.6
Average Daily Rain (mm) | 86.48 | 2.17
Rainy Days | 76 | 74
Average Difference (mm) | 84.46 | 84.46
Average Agreement (%) | 80.57 | 80.57
RAINFALL PERFORMANCE SUMMARY
Matching Rainfall Days | 0
Mismatching Rainfall Days | 0
Both Gauges Dry | 82
Overall Gauge Agreement (%) | 80.57
RAINFALL ISSUES
• 1 spikes detected
• Persistence issue detected
• RG1: Increment/Cumulative mismatch
• RG1: Unexpected rainfall reset
• RG2: Increment/Cumulative mismatch
• RG2: Unexpected rainfall reset

## Meteorological Checks
METEOROLOGICAL CHECKS
Meteorological Check | Status | Records Checked | Failures | Remarks
Wet Bulb Temperature | WARNING | 24863 | 1 | 1 inconsistencies detected
Heat Index | WARNING | 24863 | 33 | 33 inconsistencies detected
Relative Humidity | WARNING | 24863 | 6 | 6 inconsistencies detected
Pressure Consistency | WARNING | 24863 | 114 | 114 inconsistencies detected
WBGT Validation | PASS | 24863 | 0 | No inconsistencies detected
METEOROLOGICAL HEALTH SUMMARY
Total Checks | 5
Passed Checks | 1
Warnings | 4
Failed Checks | 0
Skipped Checks | 0
Overall Meteorological Health | DEGRADED
DETAILED METEOROLOGICAL ISSUES
• 1 inconsistencies detected
• 114 inconsistencies detected
• 2024-10-11 14:00:07+00:00 - Unrealistic pressure jump (Jump 26.51 hPa)
• 2024-10-12 11:52:40+00:00 - Unrealistic pressure jump (Jump 25.69 hPa)
• 2024-10-12 12:00:00+00:00 - Unrealistic pressure jump (Jump 25.60 hPa)
• 2024-10-13 09:59:20+00:00 - Unrealistic pressure jump (Jump 24.21 hPa)
• 2024-10-13 10:00:00+00:00 - Unrealistic pressure jump (Jump 24.55 hPa)
• 2024-10-14 08:05:47+00:00 - Unrealistic pressure jump (Jump 22.55 hPa)
• 2024-10-14 08:15:00+00:00 - Unrealistic pressure jump (Jump 22.52 hPa)
• 2024-10-15 06:09:59+00:00 - Unrealistic pressure jump (Jump 22.41 hPa)
• 2024-10-15 06:15:02+00:00 - Unrealistic pressure jump (Jump 22.41 hPa)
• 2024-10-16 04:13:58+00:00 - Unrealistic pressure jump (Jump 23.15 hPa)
• 2024-10-16 04:15:02+00:00 - Unrealistic pressure jump (Jump 22.97 hPa)
• 2024-10-17 02:18:01+00:00 - Unrealistic pressure jump (Jump 23.38 hPa)
• 2024-10-17 02:30:02+00:00 - Unrealistic pressure jump (Jump 23.22 hPa)
• 2024-10-18 00:22:29+00:00 - Unrealistic pressure jump (Jump 24.91 hPa)
• 2024-10-18 00:30:02+00:00 - Unrealistic pressure jump (Jump 24.92 hPa)
• 2024-10-18 22:27:16+00:00 - Unrealistic pressure jump (Jump 25.09 hPa)
• 2024-10-18 22:30:02+00:00 - Unrealistic pressure jump (Jump 25.25 hPa)
• 2024-10-19 20:32:01+00:00 - Unrealistic pressure jump (Jump 23.95 hPa)
• 2024-10-19 20:45:02+00:00 - Unrealistic pressure jump (Jump 23.97 hPa)
• 2024-10-20 18:36:46+00:00 - Unrealistic pressure jump (Jump 23.61 hPa)
• 2024-10-20 18:45:03+00:00 - Unrealistic pressure jump (Jump 23.58 hPa)
• 2024-10-21 16:41:34+00:00 - Unrealistic pressure jump (Jump 25.63 hPa)
• 2024-10-21 16:45:02+00:00 - Unrealistic pressure jump (Jump 25.63 hPa)
• 2024-10-22 14:46:17+00:00 - Unrealistic pressure jump (Jump 26.02 hPa)
• 2024-10-22 15:00:02+00:00 - Unrealistic pressure jump (Jump 26.08 hPa)
• 2024-10-23 12:51:00+00:00 - Unrealistic pressure jump (Jump 27.09 hPa)
• 2024-10-23 13:00:03+00:00 - Unrealistic pressure jump (Jump 26.85 hPa)
• 2024-10-24 10:55:42+00:00 - Unrealistic pressure jump (Jump 25.70 hPa)
• 2024-10-24 11:00:02+00:00 - Unrealistic pressure jump (Jump 25.73 hPa)
• 2024-10-25 09:31:01+00:00 - Unrealistic pressure jump (Jump 24.97 hPa)
• 2024-10-25 09:45:02+00:00 - Unrealistic pressure jump (Jump 25.20 hPa)
• 2024-10-26 07:35:46+00:00 - Unrealistic pressure jump (Jump 24.15 hPa)
• 2024-10-26 07:45:02+00:00 - Unrealistic pressure jump (Jump 24.17 hPa)
• 2024-10-27 05:40:52+00:00 - Unrealistic pressure jump (Jump 23.26 hPa)
• 2024-10-27 05:45:03+00:00 - Unrealistic pressure jump (Jump 23.04 hPa)
• 2024-10-28 03:45:51+00:00 - Unrealistic pressure jump (Jump 25.05 hPa)
• 2024-10-28 04:00:02+00:00 - Unrealistic pressure jump (Jump 25.23 hPa)
• 2024-10-29 01:50:38+00:00 - Unrealistic pressure jump (Jump 26.00 hPa)
• 2024-10-29 02:00:03+00:00 - Unrealistic pressure jump (Jump 25.99 hPa)
• 2024-10-29 23:55:22+00:00 - Unrealistic pressure jump (Jump 26.51 hPa)
• 2024-10-30 00:00:02+00:00 - Unrealistic pressure jump (Jump 26.42 hPa)
• 2024-10-30 22:00:13+00:00 - Unrealistic pressure jump (Jump 25.80 hPa)
• 2024-10-30 22:15:02+00:00 - Unrealistic pressure jump (Jump 26.02 hPa)
• 2024-10-31 20:04:58+00:00 - Unrealistic pressure jump (Jump 24.66 hPa)
• 2024-10-31 20:15:03+00:00 - Unrealistic pressure jump (Jump 24.72 hPa)
• 2024-11-01 18:09:39+00:00 - Unrealistic pressure jump (Jump 24.46 hPa)
• 2024-11-01 18:15:03+00:00 - Unrealistic pressure jump (Jump 24.38 hPa)
• 2024-11-02 16:14:27+00:00 - Unrealistic pressure jump (Jump 26.00 hPa)
• 2024-11-02 16:15:02+00:00 - Unrealistic pressure jump (Jump 25.80 hPa)
• 2024-11-03 14:19:11+00:00 - Unrealistic pressure jump (Jump 26.26 hPa)
• 2024-11-03 14:30:03+00:00 - Unrealistic pressure jump (Jump 26.23 hPa)
• 2024-11-04 12:23:52+00:00 - Unrealistic pressure jump (Jump 27.58 hPa)
• 2024-11-04 12:30:02+00:00 - Unrealistic pressure jump (Jump 27.68 hPa)
• 2024-11-05 10:59:17+00:00 - Unrealistic pressure jump (Jump 27.15 hPa)
• 2024-11-05 11:00:03+00:00 - Unrealistic pressure jump (Jump 27.08 hPa)
• 2024-11-06 09:03:59+00:00 - Unrealistic pressure jump (Jump 24.77 hPa)
• 2024-11-06 09:15:03+00:00 - Unrealistic pressure jump (Jump 24.83 hPa)
• 2024-11-07 07:08:41+00:00 - Unrealistic pressure jump (Jump 22.77 hPa)
• 2024-11-07 07:15:02+00:00 - Unrealistic pressure jump (Jump 22.90 hPa)
• 2024-11-08 05:13:23+00:00 - Unrealistic pressure jump (Jump 23.80 hPa)
• 2024-11-08 05:15:02+00:00 - Unrealistic pressure jump (Jump 23.60 hPa)
• 2024-11-09 03:18:08+00:00 - Unrealistic pressure jump (Jump 25.20 hPa)
• 2024-11-09 03:30:03+00:00 - Unrealistic pressure jump (Jump 25.17 hPa)
• 2024-11-10 01:22:50+00:00 - Unrealistic pressure jump (Jump 26.23 hPa)
• 2024-11-10 01:30:02+00:00 - Unrealistic pressure jump (Jump 26.11 hPa)
• 2024-11-10 23:27:44+00:00 - Unrealistic pressure jump (Jump 25.59 hPa)
• 2024-11-10 23:30:02+00:00 - Unrealistic pressure jump (Jump 25.70 hPa)
• 2024-11-11 21:32:30+00:00 - Unrealistic pressure jump (Jump 24.37 hPa)
• 2024-11-11 21:45:03+00:00 - Unrealistic pressure jump (Jump 24.36 hPa)
• 2024-11-12 19:37:08+00:00 - Unrealistic pressure jump (Jump 24.39 hPa)
• 2024-11-12 19:45:02+00:00 - Unrealistic pressure jump (Jump 24.36 hPa)
• 2024-11-13 17:41:48+00:00 - Unrealistic pressure jump (Jump 25.37 hPa)
• 2024-11-13 17:45:02+00:00 - Unrealistic pressure jump (Jump 25.18 hPa)
• 2024-11-14 15:46:39+00:00 - Unrealistic pressure jump (Jump 28.12 hPa)
• 2024-11-14 16:00:02+00:00 - Unrealistic pressure jump (Jump 28.04 hPa)
• 2024-11-15 13:51:22+00:00 - Unrealistic pressure jump (Jump 28.81 hPa)
• 2024-11-15 14:00:03+00:00 - Unrealistic pressure jump (Jump 28.79 hPa)
• 2024-11-16 11:56:07+00:00 - Unrealistic pressure jump (Jump 27.74 hPa)
• 2024-11-16 12:00:02+00:00 - Unrealistic pressure jump (Jump 27.81 hPa)
• 2024-11-17 10:00:54+00:00 - Unrealistic pressure jump (Jump 25.57 hPa)
• 2024-11-17 10:15:02+00:00 - Unrealistic pressure jump (Jump 25.77 hPa)
• 2024-11-18 08:05:35+00:00 - Unrealistic pressure jump (Jump 23.92 hPa)
• 2024-11-18 08:15:03+00:00 - Unrealistic pressure jump (Jump 24.21 hPa)
• 2024-11-19 06:10:17+00:00 - Unrealistic pressure jump (Jump 23.30 hPa)
• 2024-11-19 06:15:02+00:00 - Unrealistic pressure jump (Jump 23.22 hPa)
• 2024-11-20 04:15:02+00:00 - Unrealistic pressure jump (Jump 24.46 hPa)
• 2024-11-20 04:30:02+00:00 - Unrealistic pressure jump (Jump 24.37 hPa)
• 2024-11-21 02:19:47+00:00 - Unrealistic pressure jump (Jump 25.40 hPa)
• 2024-11-21 02:30:03+00:00 - Unrealistic pressure jump (Jump 25.27 hPa)
• 2024-11-22 00:24:28+00:00 - Unrealistic pressure jump (Jump 25.62 hPa)
• 2024-11-22 00:30:02+00:00 - Unrealistic pressure jump (Jump 25.75 hPa)
• 2024-11-22 22:29:10+00:00 - Unrealistic pressure jump (Jump 24.85 hPa)
• 2024-11-22 22:30:02+00:00 - Unrealistic pressure jump (Jump 24.93 hPa)
• 2024-11-23 20:34:15+00:00 - Unrealistic pressure jump (Jump 23.79 hPa)
• 2024-11-23 20:45:03+00:00 - Unrealistic pressure jump (Jump 23.79 hPa)
• 2024-11-24 18:38:59+00:00 - Unrealistic pressure jump (Jump 24.42 hPa)
• 2024-11-24 18:45:02+00:00 - Unrealistic pressure jump (Jump 24.49 hPa)
• 2024-11-25 16:43:58+00:00 - Unrealistic pressure jump (Jump 25.15 hPa)
• 2024-11-25 16:45:02+00:00 - Unrealistic pressure jump (Jump 24.95 hPa)
• 2024-11-26 14:48:45+00:00 - Unrealistic pressure jump (Jump 26.68 hPa)
• 2024-11-26 15:00:03+00:00 - Unrealistic pressure jump (Jump 26.69 hPa)
• 2024-12-23 21:11:23+00:00 - Unrealistic pressure jump (Jump 24.99 hPa)
• 2024-12-23 21:15:00+00:00 - Unrealistic pressure jump (Jump 25.15 hPa)
• 2024-12-28 20:54:59+00:00 - Unrealistic pressure jump (Jump 819.80 hPa)
• 2024-12-28 21:57:10+00:00 - Unrealistic pressure jump (Jump 819.77 hPa)
• 2025-01-07 16:17:08+00:00 - Unrealistic pressure jump (Jump 817.12 hPa)
• 2025-01-07 17:18:24+00:00 - Unrealistic pressure jump (Jump 818.27 hPa)
• 2025-01-09 18:48:35+00:00 - Unrealistic pressure jump (Jump 24.69 hPa)
• 2025-01-09 19:00:00+00:00 - Unrealistic pressure jump (Jump 24.73 hPa)
• 2025-02-15 09:39:06+00:00 - Unrealistic pressure jump (Jump 163.11 hPa)
• 2025-02-15 09:45:19+00:00 - Unrealistic pressure jump (Jump 11.56 hPa)
• 2025-02-15 10:39:17+00:00 - Unrealistic pressure jump (Jump 182.29 hPa)
• 2025-06-10 17:00:02+00:00 - Unrealistic pressure jump (Jump 818.19 hPa)
• 2026-02-06 08:02:42+00:00 - Unrealistic pressure jump (Jump 824.65 hPa)
• 33 inconsistencies detected
• 6 inconsistencies detected

## Daily Summary
DAILY SUMMARY
Date | Tmax | Tmin | Tmean | RH_Max | RH_Min | RH_Mean | Pressure_Max | Pressure_Min | Pressure_Mean | Rain_RG1 | Rain_RG2 | Rain_Difference | Rain_Agreement | Rain_Status
2024-10-11 | 16 | 13.44 | 14.57 | 93.98 | 84.65 | 91.1661 | 843.2817 | 816.4183 | 819.4341 | 3.6 | 4.4 | 0.8 | 81.8 | Moderate Agreement
2024-10-12 | 27.19 | 12.88 | 18.0249 | 96.05 | 45.93 | 78.8928 | 843.2817 | 817.3178 | 819.2239 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-10-13 | 27.25 | 13.38 | 18.9541 | 95.37 | 45.6 | 75.6397 | 843.2817 | 816.6368 | 819.0888 | 0 | 0 | 0 | 100 | Both Dry
2024-10-14 | 27.88 | 13.31 | 18.8418 | 95.76 | 47.27 | 75.9774 | 843.2817 | 816.8443 | 819.1232 | 1.4 | 1.4 | 0 | 100 | Good Agreement
2024-10-15 | 28.75 | 12.19 | 17.7788 | 96.34 | 43.47 | 82.316 | 843.2817 | 816.6003 | 819.2082 | 7 | 7 | 0 | 100 | Good Agreement
2024-10-16 | 27.19 | 15.25 | 18.7537 | 92.94 | 50.25 | 79.7447 | 843.2817 | 817.7512 | 819.9682 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-10-17 | 26.81 | 13.31 | 18.3781 | 95.54 | 52.41 | 80.8104 | 843.2817 | 816.6359 | 819.5781 | 0 | 0 | 0 | 100 | Both Dry
2024-10-18 | 26.19 | 12.56 | 16.8943 | 96.61 | 53.25 | 85.1167 | 843.2817 | 817.0862 | 819.1503 | 2 | 2.6 | 0.6 | 76.9 | Moderate Agreement
2024-10-19 | 27.25 | 11.94 | 17.5037 | 97.17 | 46.41 | 84.5408 | 843.2817 | 816.653 | 818.6728 | 42.6 | 42.8 | 0.2 | 99.5 | Good Agreement
2024-10-20 | 27.31 | 13.88 | 18.9812 | 96.77 | 50.34 | 81.3971 | 843.2817 | 815.9705 | 818.6147 | 21.2 | 21.2 | 0 | 100 | Good Agreement
2024-10-21 | 25.62 | 14.75 | 18.4205 | 96.65 | 56.08 | 83.7244 | 843.2817 | 816.7037 | 818.9697 | 8.4 | 8 | 0.4 | 95.2 | Good Agreement
2024-10-22 | 27 | 13.25 | 18.7824 | 97.21 | 46.48 | 80.6216 | 843.2817 | 816.7983 | 818.8599 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-10-23 | 27.62 | 14.94 | 19.0114 | 94.35 | 48.49 | 79.2223 | 843.2817 | 816.1924 | 818.5732 | 4.8 | 5 | 0.2 | 96 | Good Agreement
2024-10-24 | 26.19 | 13.56 | 18.6823 | 95.67 | 50.57 | 80.3814 | 843.2817 | 816.4478 | 818.5788 | 0.4 | 0.2 | 0.2 | 50 | Poor Agreement
2024-10-25 | 29.38 | 12.62 | 19.0803 | 97.04 | 45.18 | 75.4938 | 843.2817 | 815.4928 | 817.8128 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2024-10-26 | 29.25 | 14.06 | 20.5113 | 90.74 | 44.95 | 70.7897 | 843.2817 | 815.5066 | 817.8538 | 5.4 | 5.2 | 0.2 | 96.3 | Good Agreement
2024-10-27 | 27.12 | 13.12 | 19.3287 | 93.04 | 48.35 | 75.4755 | 843.2817 | 816.0728 | 818.3049 | 1 | 0.8 | 0.2 | 80 | Moderate Agreement
2024-10-28 | 29.31 | 13.94 | 19.417 | 95.58 | 43.12 | 79.0591 | 843.2817 | 815.5582 | 818.0839 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-10-29 | 29.44 | 12.69 | 20.1577 | 95.73 | 25.53 | 66.6826 | 843.2817 | 815.2972 | 818.0246 | 0.2 | 0 | 0.2 | 0 | Event Difference
2024-10-30 | 30.25 | 11.38 | 20.441 | 90.71 | 29.77 | 62.7381 | 843.2817 | 814.6896 | 817.5581 | 0 | 0 | 0 | 100 | Both Dry
2024-10-31 | 28.75 | 12.56 | 20.1022 | 95.33 | 37.32 | 70.9239 | 843.2817 | 815.0196 | 817.6076 | 11.4 | 11.2 | 0.2 | 98.2 | Good Agreement
2024-11-01 | 28.5 | 13.5 | 18.2034 | 96.4 | 48.48 | 83.7141 | 843.2817 | 815.8432 | 818.2339 | 14.2 | 13.8 | 0.4 | 97.2 | Good Agreement
2024-11-02 | 27 | 14.5 | 19.3421 | 93.64 | 44.96 | 78.0258 | 843.2817 | 816.1987 | 818.492 | 1.6 | 1.4 | 0.2 | 87.5 | Moderate Agreement
2024-11-03 | 28.56 | 12.75 | 19.9818 | 94.76 | 38.77 | 71.5947 | 843.2817 | 816.844 | 818.8651 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2024-11-04 | 27.25 | 13.25 | 19.151 | 95.29 | 49.03 | 76.4114 | 843.2817 | 815.2198 | 817.9756 | 1.4 | 1.8 | 0.4 | 77.8 | Moderate Agreement
2024-11-05 | 28.12 | 13.94 | 18.0986 | 92.99 | 46.67 | 80.0301 | 843.2817 | 814.1601 | 817.3899 | 3.8 | 3.8 | 0 | 100 | Good Agreement
2024-11-06 | 25.94 | 13.69 | 18.3109 | 95.9 | 51.77 | 79.3672 | 843.2817 | 815.7163 | 817.8639 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2024-11-07 | 27.31 | 13.56 | 18.5229 | 95.29 | 44.58 | 78.969 | 843.2817 | 816.3988 | 818.6427 | 6.8 | 7 | 0.2 | 97.1 | Good Agreement
2024-11-08 | 27.81 | 11.94 | 18.4336 | 96.56 | 36.03 | 72.8817 | 843.2817 | 816.255 | 818.5505 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2024-11-09 | 27.25 | 10.62 | 18.7399 | 94.86 | 40.5 | 67.7536 | 843.2817 | 815.2067 | 817.6582 | 0.2 | 0 | 0.2 | 0 | Event Difference
2024-11-10 | 27 | 12.25 | 18.7326 | 92.77 | 44.99 | 69.6522 | 843.2817 | 816.0248 | 818.4475 | 0 | 0 | 0 | 100 | Both Dry
2024-11-11 | 27.25 | 12.44 | 16.8539 | 95.5 | 48.23 | 83.0722 | 843.2817 | 816.8415 | 818.7923 | 1.6 | 1.6 | 0 | 100 | Good Agreement
2024-11-12 | 27.94 | 11.25 | 18.8363 | 97.13 | 41.69 | 71.7557 | 843.2817 | 816.0284 | 818.4753 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-11-13 | 28.38 | 11.88 | 18.7539 | 93.21 | 41.5 | 74.8736 | 843.2817 | 815.8157 | 818.1195 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2024-11-14 | 28.12 | 13.69 | 19.0774 | 95.52 | 43.5 | 77.0042 | 843.2817 | 814.0542 | 816.7673 | 1 | 1 | 0 | 100 | Good Agreement
2024-11-15 | 26.12 | 14 | 18.8108 | 96 | 46.07 | 78.6576 | 843.2817 | 814.1598 | 816.5736 | 3.2 | 3.4 | 0.2 | 94.1 | Good Agreement
2024-11-16 | 26.69 | 12.69 | 18.7071 | 96.09 | 47.41 | 77.5162 | 843.2817 | 814.8217 | 817.5532 | 0.2 | 0 | 0.2 | 0 | Event Difference
2024-11-17 | 25.94 | 11.88 | 18.5401 | 97.09 | 49.84 | 71.0801 | 843.2817 | 815.9332 | 817.9989 | 0 | 0 | 0 | 100 | Both Dry
2024-11-18 | 28.06 | 11.31 | 19.2722 | 87.56 | 37.75 | 62.6644 | 843.2817 | 816.0298 | 818.123 | 0 | 0 | 0 | 100 | Both Dry
2024-11-19 | 25.88 | 13.38 | 18.9177 | 95.61 | 46.49 | 75.8033 | 843.2817 | 815.6849 | 818.3806 | 0 | 0 | 0 | 100 | Both Dry
2024-11-20 | 28.31 | 15.19 | 19.028 | 94.06 | 49.87 | 76.7933 | 843.2817 | 815.3677 | 818.0752 | 0 | 0 | 0 | 100 | Both Dry
2024-11-21 | 25.5 | 14.19 | 18.2387 | 96 | 54.55 | 82.5474 | 843.2817 | 815.5789 | 818.2879 | 58.2 | 56.6 | 1.6 | 97.3 | Good Agreement
2024-11-22 | 26.25 | 13.25 | 18.9014 | 97.04 | 52.35 | 81.1512 | 843.2817 | 815.5485 | 818.5094 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-11-23 | 25.62 | 14.38 | 18.7434 | 96.69 | 54.42 | 81.4035 | 843.2817 | 816.0596 | 818.8592 | 4.4 | 4.6 | 0.2 | 95.7 | Good Agreement
2024-11-24 | 26.06 | 13.5 | 18.8893 | 96.87 | 51.55 | 80.7802 | 843.2817 | 815.9034 | 818.6418 | 0.6 | 0.6 | 0 | 100 | Good Agreement
2024-11-25 | 25.31 | 13.94 | 17.6093 | 96.26 | 49.78 | 83.5322 | 843.2817 | 816.4289 | 818.9258 | 28.8 | 28.2 | 0.6 | 97.9 | Good Agreement
2024-11-26 | 26.44 | 15.12 | 18.7198 | 96.24 | 51.97 | 81.5984 | 843.2817 | 815.4698 | 818.123 | 0 | 0.2 | 0.2 | 0 | Event Difference
2024-11-27 | 24.62 | 14.69 | 17.5909 | 96.14 | 58.08 | 86.8274 | 820.7689 | 815.9024 | 818.5206 | 11.8 | 11.4 | 0.4 | 96.6 | Good Agreement
2024-11-28 | 25.38 | 13 | 17.3569 | 96.27 | 52.31 | 86.052 | 821.5399 | 816.301 | 819.4551 | 11.4 | 12 | 0.6 | 95 | Good Agreement
2024-11-29 | 26.56 | 14.44 | 18.4904 | 96.47 | 52.16 | 81.7798 | 821.9546 | 817.3295 | 820.018 | 1.8 | 1.6 | 0.2 | 88.9 | Moderate Agreement
2024-11-30 | 24.69 | 13.19 | 17.7159 | 96.66 | 59.08 | 82.4374 | 821.9359 | 817.5254 | 819.5831 | 0.8 | 0.8 | 0 | 100 | Good Agreement
2024-12-01 | 25.69 | 11.12 | 18.1505 | 96.92 | 49.04 | 75.9778 | 820.3442 | 815.6959 | 818.1733 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2024-12-02 | 25 | 12.12 | 18.5119 | 96.62 | 49.21 | 70.7506 | 819.699 | 815.6133 | 817.7583 | 0.2 | 0 | 0.2 | 0 | Event Difference
2024-12-03 | 26.25 | 11.06 | 18.5752 | 93.71 | 41.28 | 66.2465 | 819.3663 | 815.5481 | 817.7878 | 0 | 0 | 0 | 100 | Both Dry
2024-12-04 | 26.44 | 11.38 | 18.6661 | 84.36 | 37.5 | 60.1544 | 819.5405 | 815.5804 | 817.8828 | 0 | 0 | 0 | 100 | Both Dry
2024-12-05 | 27.31 | 10 | 18.2345 | 87.84 | 41.56 | 64.5279 | 820.0443 | 816.0383 | 818.1219 | 0 | 0 | 0 | 100 | Both Dry
2024-12-06 | 27.38 | 11 | 18.2298 | 96.02 | 35.13 | 64.3491 | 820.394 | 815.7327 | 818.283 | 0 | 0 | 0 | 100 | Both Dry
2024-12-07 | 26.88 | 9.69 | 17.952 | 83.07 | 25.95 | 57.7159 | 820.5691 | 817.1006 | 819.0919 | 0 | 0 | 0 | 100 | Both Dry
2024-12-08 | 27.5 | 9.12 | 18.1418 | 87.98 | 30.55 | 59.8083 | 821.9704 | 816.9579 | 819.2287 | 0 | 0 | 0 | 100 | Both Dry
2024-12-09 | 28.12 | 9.81 | 18.8327 | 93.98 | 35.42 | 67.7074 | 820.0114 | 816.3442 | 818.33 | 0 | 0 | 0 | 100 | Both Dry
2024-12-10 | 27.12 | 12.06 | 19.3318 | 95.1 | 41.98 | 67.8158 | 820.2732 | 815.7383 | 817.8797 | 0 | 0 | 0 | 100 | Both Dry
2024-12-11 | 28.12 | 11.25 | 18.9336 | 90.55 | 40.6 | 66.4151 | 819.923 | 815.1735 | 817.5454 | 0 | 0 | 0 | 100 | Both Dry
2024-12-12 | 27.25 | 11.38 | 19.2271 | 95.17 | 41.12 | 69.5515 | 819.9553 | 815.3126 | 817.5753 | 0 | 0 | 0 | 100 | Both Dry
2024-12-13 | 27.12 | 12.88 | 19.3207 | 97.01 | 39.28 | 69.3683 | 819.6027 | 815.9713 | 817.9004 | 0 | 0 | 0 | 100 | Both Dry
2024-12-14 | 29.12 | 11.31 | 19.6857 | 94.87 | 35.78 | 65.5221 | 820.1158 | 815.6697 | 817.9095 | 0 | 0 | 0 | 100 | Both Dry
2024-12-15 | 28.12 | 12.12 | 19.7724 | 95.1 | 39.33 | 71.8484 | 819.7859 | 815.7678 | 817.9838 | 0 | 0 | 0 | 100 | Both Dry
2024-12-16 | 28.12 | 13.69 | 20.7314 | 97.08 | 44.12 | 66.6959 | 820.5115 | 816.8652 | 818.6832 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2024-12-17 | 27.75 | 10.88 | 19.1807 | 91.99 | 39.33 | 65.5349 | 820.5673 | 816.7751 | 818.7444 | 0 | 0 | 0 | 100 | Both Dry
2024-12-18 | 28.06 | 11.25 | 19.5104 | 88.64 | 34.33 | 62.4428 | 820.7162 | 816.4745 | 818.7522 | 0 | 0 | 0 | 100 | Both Dry
2024-12-19 | 28.12 | 12.38 | 19.1959 | 93.87 | 35.74 | 73.8861 | 820.6679 | 816.7003 | 818.9588 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2024-12-20 | 27.81 | 14.94 | 19.7814 | 95.93 | 40.33 | 73.1425 | 821.4426 | 816.5684 | 819.0668 | 0 | 0 | 0 | 100 | Both Dry
2024-12-21 | 27.5 | 13.25 | 19.8249 | 94.87 | 44.46 | 72.4504 | 821.113 | 817.4263 | 818.8967 | 0 | 0 | 0 | 100 | Both Dry
2024-12-22 | 25.81 | 15.06 | 20.4213 | 95.62 | 51.65 | 74.0016 | 820.1697 | 816.7396 | 818.2512 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2024-12-23 | 27.06 | 14.44 | 18.6167 | 96.26 | 45.39 | 79.6525 | 843.2817 | 815.8419 | 818.0894 | 0.4 | 0.2 | 0.2 | 50 | Poor Agreement
2024-12-24 | 27.81 | 14.94 | 19.4106 | 95.91 | 47.38 | 78.4639 | 820.0388 | 815.8591 | 818.2372 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2024-12-25 | 27.19 | 13.94 | 19.7943 | 96.69 | 47.32 | 76.0823 | 819.9486 | 816.4399 | 818.4467 | 0.2 | 0 | 0.2 | 0 | Event Difference
2024-12-26 | 29 | 14.62 | 22.5538 | 76.19 | 35.29 | 53.4528 | 820.7001 | 816.7239 | 818.4067 | 0 | 0 | 0 | 100 | Both Dry
2024-12-27 | 28.5 | 18.44 | 24.318 | 68.15 | 29.35 | 43.9636 | 821.5547 | 816.6676 | 819.0664 | 0 | 0 | 0 | 100 | Both Dry
2024-12-28 | 29.62 | 13.19 | 21.6421 | 59.77 | 20.02 | 40.1141 | 820.1824 | 816.9115 | 818.4266 | 0 | 0 | 0 | 100 | Both Dry
2024-12-29 | 28.19 | 12.56 | 21.0512 | 66.28 | 24.12 | 45.7695 | 821.2418 | 817.3223 | 819.193 | 0 | 0 | 0 | 100 | Both Dry
2024-12-30 | 29.5 | 10.38 | 20.727 | 79.92 | 26.57 | 49.0646 | 820.9827 | 816.3523 | 818.6941 | 0 | 0 | 0 | 100 | Both Dry
2024-12-31 | 18.06 | 12.06 | 13.5488 | 78.27 | 60.78 | 71.3208 | 819.8314 | 818.3491 | 818.9347 | 0 | 0 | 0 | 100 | Both Dry
2025-01-07 | 29.69 | 16.81 | 21.7912 | 74.85 | 29.3 | 53.5439 | 819.0243 | 815.7121 | 817.345 | 0 | 0 | 0 | 100 | Both Dry
2025-01-08 | 30.56 | 16.81 | 24.2169 | 76.62 | 25.86 | 47.1 | 820.426 | 815.0151 | 817.5645 | 0 | 0 | 0 | 100 | Both Dry
2025-01-09 | 29.75 | 16.12 | 21.3407 | 80.78 | 28.69 | 58.3134 | 843.2817 | 815.1018 | 817.6058 | 0 | 0 | 0 | 100 | Both Dry
2025-01-10 | 28.38 | 22.06 | 25.3554 | 59.04 | 38.28 | 48.8146 | 819.9985 | 818.5881 | 819.4613 | 0 | 0 | 0 | 100 | Both Dry
2025-01-16 | 27.62 | 14.62 | 19.0072 | 62.25 | 27.63 | 47.8791 | 819.3077 | 815.9529 | 817.9394 | 0 | 0 | 0 | 100 | Both Dry
2025-01-17 | 28.62 | 9.12 | 18.8097 | 86.12 | 26.83 | 53.4381 | 820.8047 | 815.9048 | 818.281 | 0 | 0 | 0 | 100 | Both Dry
2025-01-18 | 28.88 | 10.56 | 19.6482 | 77.82 | 25 | 51.1324 | 819.6655 | 815.0435 | 817.4866 | 0 | 0 | 0 | 100 | Both Dry
2025-01-19 | 29.62 | 10 | 19.5464 | 81.63 | 23.97 | 49.5077 | 819.5799 | 814.8611 | 817.3432 | 0 | 0 | 0 | 100 | Both Dry
2025-01-20 | 29.88 | 9.94 | 19.7856 | 93.51 | 21.96 | 58.553 | 819.571 | 815.1692 | 817.843 | 0 | 0 | 0 | 100 | Both Dry
2025-01-21 | 27.44 | 11.75 | 18.5616 | 96.51 | 34.42 | 70.4637 | 820.4637 | 815.3997 | 818.2711 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2025-01-22 | 28.06 | 10.12 | 18.3437 | 97.22 | 32.03 | 70.2455 | 820.5988 | 815.5089 | 818.4929 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2025-01-23 | 27.62 | 10.5 | 17.6482 | 97.35 | 36.93 | 74.7337 | 820.0686 | 815.3323 | 817.7891 | 0.4 | 0.6 | 0.2 | 66.7 | Poor Agreement
2025-01-24 | 28.38 | 8.56 | 18.5561 | 97.64 | 33.86 | 70.4281 | 819.3108 | 814.2985 | 817.0933 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2025-01-25 | 27.69 | 11.19 | 17.2229 | 96.24 | 38.94 | 79.1316 | 819.7308 | 815.6961 | 817.8872 | 1.4 | 1.4 | 0 | 100 | Good Agreement
2025-01-26 | 27.06 | 11.44 | 17.6671 | 97.29 | 43.92 | 75.6846 | 820.4973 | 815.8298 | 818.46 | 0 | 0.2 | 0.2 | 0 | Event Difference
2025-01-27 | 23.44 | 11.44 | 14.352 | 94.5 | 54.28 | 87.0923 | 820.068 | 817.6066 | 818.6549 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2025-02-04 | 29.88 | 14.81 | 22.4849 | 67.08 | 28.68 | 44.5905 | 817.7303 | 814.2047 | 815.9545 | 0 | 0 | 0 | 100 | Both Dry
2025-02-05 | 31.12 | 10 | 20.7867 | 83.67 | 17.37 | 44.8651 | 818.6414 | 813.8396 | 816.508 | 0 | 0 | 0 | 100 | Both Dry
2025-02-06 | 30.38 | 9.94 | 20.6003 | 79.06 | 21.96 | 49.5946 | 817.9893 | 813.1982 | 816.0662 | 0 | 0 | 0 | 100 | Both Dry
2025-02-07 | 30.44 | 10.75 | 20.3247 | 93.17 | 25.39 | 59.8528 | 818.5963 | 814.1303 | 816.8278 | 0 | 0 | 0 | 100 | Both Dry
2025-02-08 | 30.12 | 11.69 | 20.3185 | 96.36 | 23.67 | 62.8257 | 819.9634 | 815.2117 | 817.8295 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2025-02-09 | 31.19 | 14 | 21.4924 | 96.56 | 21.63 | 64.3001 | 820.0528 | 814.6161 | 817.36 | 0 | 0 | 0 | 100 | Both Dry
2025-02-10 | 31.06 | 12.19 | 20.4941 | 97.45 | 28.82 | 61.2966 | 818.0508 | 813.3898 | 815.6497 | 0.6 | 0.4 | 0.2 | 66.7 | Poor Agreement
2025-02-11 | 32.06 | 12.25 | 21.187 | 77.88 | 20.68 | 48.1841 | 818.2996 | 813.4101 | 816.0889 | 0 | 0 | 0 | 100 | Both Dry
2025-02-12 | 31.56 | 10.12 | 20.8764 | 83.44 | 23.15 | 53.4123 | 818.8644 | 814.3923 | 817.0044 | 0 | 0 | 0 | 100 | Both Dry
2025-02-13 | 31 | 11.81 | 20.7762 | 87.54 | 32.76 | 56.2587 | 819.5971 | 814.7937 | 817.3837 | 0 | 0 | 0 | 100 | Both Dry
2025-02-14 | 33.12 | 10.19 | 21.8562 | 88.63 | 18.42 | 46.0002 | 819.5999 | 814.7548 | 817.6379 | 0 | 0 | 0 | 100 | Both Dry
2025-02-15 | 30.38 | 12.44 | 20.4376 | 88.53 | 26.83 | 57.7996 | 999.678 | 815.1093 | 826.9509 | 0 | 0 | 0 | 100 | Both Dry
2025-02-16 | 30.94 | 11.69 | 21.0345 | 94.26 | 28.3 | 58.2831 | 819.2213 | 813.8078 | 816.7298 | 0 | 0 | 0 | 100 | Both Dry
2025-02-17 | 31.31 | 10.81 | 21.1217 | 86.82 | 21.92 | 46.5837 | 818.9088 | 814.7871 | 816.9042 | 0 | 0 | 0 | 100 | Both Dry
2025-02-18 | 31.62 | 9.19 | 20.2122 | 81.99 | 13.64 | 40.6111 | 820.0281 | 815.9526 | 817.9902 | 0 | 0 | 0 | 100 | Both Dry
2025-02-19 | 31.06 | 9.31 | 20.5848 | 73.07 | 11.36 | 36.589 | 820.0953 | 815.9261 | 818.0017 | 0 | 0 | 0 | 100 | Both Dry
2025-02-20 | 31.81 | 9.12 | 21.0396 | 67.62 | 15.21 | 35.6617 | 819.5754 | 815.0496 | 817.4124 | 0 | 0 | 0 | 100 | Both Dry
2025-02-21 | 32.06 | 9.88 | 20.9758 | 76.46 | 17.35 | 39.1237 | 819.9102 | 814.7279 | 817.3575 | 0 | 0 | 0 | 100 | Both Dry
2025-02-22 | 32.31 | 10 | 20.3785 | 70.41 | 18.2 | 40.3362 | 819.3134 | 815.569 | 817.7923 | 0 | 0 | 0 | 100 | Both Dry
2025-02-23 | 31.38 | 8.88 | 20.624 | 77.53 | 16.34 | 43.4126 | 820.6323 | 815.5697 | 818.2769 | 0 | 0 | 0 | 100 | Both Dry
2025-02-24 | 30.81 | 10.62 | 20.9229 | 75.97 | 21.31 | 44.0902 | 821.1213 | 815.884 | 818.5789 | 0 | 0 | 0 | 100 | Both Dry
2025-02-25 | 30.81 | 10.88 | 21.0849 | 77.22 | 18.67 | 42.5833 | 820.8218 | 816.0092 | 818.4052 | 0 | 0 | 0 | 100 | Both Dry
2025-02-26 | 30.31 | 13.44 | 20.9246 | 66.6 | 21.53 | 39.5177 | 821.7238 | 816.9419 | 819.2977 | 0 | 0 | 0 | 100 | Both Dry
2025-02-27 | 31.38 | 9.12 | 21.3827 | 72.84 | 16.38 | 37.3948 | 821.8191 | 816.6349 | 819.2484 | 0 | 0 | 0 | 100 | Both Dry
2025-02-28 | 32.19 | 10.31 | 22.0171 | 71.23 | 18.15 | 40.2135 | 820.8181 | 816.134 | 818.4842 | 0 | 0 | 0 | 100 | Both Dry
2025-03-01 | 31.19 | 11.88 | 21.5232 | 75.05 | 20.39 | 47.9192 | 819.3804 | 814.9645 | 817.4808 | 0 | 0 | 0 | 100 | Both Dry
2025-03-02 | 32.06 | 12.56 | 21.0382 | 81.77 | 25.72 | 54.1347 | 819.1721 | 814.7065 | 817.4112 | 0.8 | 1 | 0.2 | 80 | Moderate Agreement
2025-03-03 | 31.44 | 11.38 | 21.2569 | 81.7 | 20.16 | 50.3062 | 819.0743 | 814.0355 | 816.758 | 0 | 0 | 0 | 100 | Both Dry
2025-03-04 | 31.25 | 12.44 | 21.3584 | 94.09 | 20.62 | 49.8532 | 819.4406 | 814.0691 | 816.7455 | 0 | 0 | 0 | 100 | Both Dry
2025-03-05 | 33.69 | 11.69 | 22.3207 | 74.94 | 17.4 | 43.4943 | 818.5792 | 814.3386 | 816.3982 | 0 | 0 | 0 | 100 | Both Dry
2025-03-06 | 32.75 | 12.5 | 22.4288 | 76.25 | 24.92 | 46.1869 | 819.5351 | 814.3212 | 817.0288 | 0 | 0 | 0 | 100 | Both Dry
2025-03-07 | 28.56 | 12.5 | 18.18 | 76.56 | 35.31 | 61.0888 | 819.2188 | 817.0876 | 818.2668 | 0 | 0 | 0 | 100 | Both Dry
2025-03-11 | 28 | 25.38 | 26.826 | 56.53 | 47.27 | 51.271 | 818.2822 | 816.0344 | 816.7696 | 0 | 0 | 0 | 100 | Both Dry
2025-03-12 | 27.69 | 23.62 | 26.1625 | 58.96 | 44.48 | 50.28 | 819.4738 | 815.5385 | 816.9487 | 0 | 0 | 0 | 100 | Both Dry
2025-03-13 | 25.19 | 14.69 | 20.8751 | 90.31 | 47.31 | 66.1287 | 819.4083 | 816.4235 | 817.9754 | 0 | 0 | 0 | 100 | Both Dry
2025-03-14 | 30.88 | 12.81 | 21.2461 | 95.96 | 30.01 | 60.1482 | 819.5035 | 813.8645 | 817.0568 | 0 | 0 | 0 | 100 | Both Dry
2025-03-15 | 30.75 | 12.44 | 21.1195 | 90.46 | 24.51 | 59.878 | 820.728 | 815.5209 | 818.4083 | 0 | 0 | 0 | 100 | Both Dry
2025-03-16 | 26.81 | 13.19 | 17.8083 | 96.63 | 44.28 | 80.1846 | 821.6071 | 816.952 | 819.556 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2025-03-17 | 28.44 | 14 | 19.2224 | 95.25 | 40.1 | 74.9317 | 821.1579 | 815.5374 | 818.834 | 0 | 0.2 | 0.2 | 0 | Event Difference
2025-03-18 | 25.75 | 13.44 | 16.7853 | 96.17 | 47.6 | 85.37 | 819.299 | 817.1343 | 818.1766 | 0.2 | 0 | 0.2 | 0 | Event Difference
2025-03-19 | 27.56 | 15.25 | 18.7939 | 93.43 | 43.95 | 76.3898 | 821.7123 | 816.0547 | 819.0878 | 5.6 | 5.4 | 0.2 | 96.4 | Good Agreement
2025-03-20 | 25.19 | 13.94 | 18.3944 | 95.8 | 53.3 | 80.425 | 822.8922 | 818.9512 | 821.2005 | 2 | 2.2 | 0.2 | 90.9 | Good Agreement
2025-03-21 | 28.06 | 14.31 | 19.4347 | 97.45 | 40.82 | 74.5519 | 822.7435 | 818.0675 | 820.5284 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2025-03-22 | 29.5 | 13.69 | 20.8042 | 93.44 | 39.44 | 66.2243 | 820.5354 | 816.0198 | 818.5252 | 0 | 0 | 0 | 100 | Both Dry
2025-03-23 | 29.06 | 13.12 | 19.6431 | 94.38 | 36.68 | 72.1879 | 821.3149 | 815.7991 | 818.768 | 3 | 3 | 0 | 100 | Good Agreement
2025-03-24 | 26.44 | 13.31 | 17.3183 | 95.85 | 52.4 | 83.7376 | 822.6722 | 818.0924 | 820.3235 | 10.8 | 10 | 0.8 | 92.6 | Good Agreement
2025-03-25 | 27.75 | 12.25 | 17.3247 | 97.03 | 45.41 | 84.6938 | 821.1983 | 816.3126 | 819.143 | 36 | 15.2 | 20.8 | 42.2 | Poor Agreement
2025-03-26 | 26.5 | 14.06 | 18.8213 | 96.35 | 45.88 | 78.7935 | 819.9981 | 815.0117 | 817.345 | 0.2 | 0 | 0.2 | 0 | Event Difference
2025-03-27 | 14.62 | 13.69 | 14.1127 | 95.57 | 92.71 | 94.1591 | 817.3708 | 816.3352 | 816.9301 | 0 | 0 | 0 | 100 | Both Dry
2025-03-30 | 27 | 14 | 17.3471 | 95.46 | 46.17 | 86.236 | 818.7781 | 815.1334 | 816.9005 | 18.4 | 1.2 | 17.2 | 6.5 | Poor Agreement
2025-03-31 | 27.69 | 13.44 | 20.074 | 97.15 | 46.35 | 72.8663 | 819.2855 | 814.5692 | 817.1352 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2025-04-01 | 28 | 12.19 | 20.1856 | 96.24 | 37.51 | 67.5919 | 819.5196 | 814.9932 | 817.3363 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2025-04-02 | 28.69 | 13.12 | 20.7262 | 95.58 | 32.34 | 65.5707 | 819.7234 | 814.8314 | 817.6102 | 0 | 0 | 0 | 100 | Both Dry
2025-04-03 | 28.88 | 13.5 | 20.672 | 92.22 | 37.4 | 64.9649 | 820.2262 | 815.5433 | 818.0656 | 0 | 0 | 0 | 100 | Both Dry
2025-04-04 | 29.69 | 14.75 | 19.6807 | 92.23 | 43.3 | 75.2242 | 819.585 | 814.7061 | 817.5609 | 5 | 4.8 | 0.2 | 96 | Good Agreement
2025-04-05 | 26.56 | 15.62 | 19.296 | 94.76 | 50.53 | 78.1617 | 819.7596 | 815.3398 | 817.6342 | 0.2 | 0 | 0.2 | 0 | Event Difference
2025-04-06 | 27.25 | 15.62 | 18.2239 | 96.23 | 48.95 | 84.7271 | 819.9676 | 815.3678 | 818.0614 | 14 | 14 | 0 | 100 | Good Agreement
2025-04-07 | 15.75 | 15.75 | 15.75 | 96.29 | 96.29 | 96.29 | 818.1943 | 818.1943 | 818.1943 | 0 | 0 | 0 | 100 | Both Dry
2025-06-10 | [9 empty] | 0 | 0 | 0 | 100 | Both Dry
2026-02-05 | [9 empty] | 0 | 0 | 0 | 100 | Both Dry
2026-02-06 | 26.56 | 26.56 | 26.56 | 46.72 | 46.72 | 46.72 | 824.6512 | 824.6512 | 824.6512 | 0 | 0 | 0 | 100 | Both Dry
2026-07-23 | 27.4 | 13.4 | 18.0549 | 94.1 | 33.2 | 74.0836 | 820.5 | 811.6 | 815.8369 | 3100.8 | 0 | 3100.8 | 0 | Event Difference
2026-07-24 | 27.9 | 11.9 | 17.2771 | 96.7 | 36.4 | 79.9372 | 820.4 | 811.5 | 815.1719 | 2117.2 | 0.2 | 2117 | 0 | Poor Agreement
2026-07-25 | 27 | 12.3 | 18.157 | 95.9 | 43.2 | 76.9049 | 821 | 811.1 | 815.5072 | 1979.6 | 2.2 | 1977.4 | 0.1 | Poor Agreement
2026-07-26 | 26 | 14 | 18.7033 | 96.9 | 44.9 | 79.0678 | 823.2 | 810.7 | 815.7173 | 5830 | 16.2 | 5813.8 | 0.3 | Poor Agreement
2026-07-27 | 25.1 | 12.9 | 16.2222 | 97.6 | 59.4 | 90.1382 | 826.1 | 810.5 | 815.7382 | 10.8 | 16 | 5.2 | 67.5 | Poor Agreement
2026-07-28 | 27.4 | 11.4 | 17.5943 | 98.5 | 47 | 82.6687 | 826.1 | 810.1 | 816.5586 | 445.8 | 1.2 | 444.6 | 0.3 | Poor Agreement
2026-07-29 | 26.1 | 12.5 | 17.5406 | 96.6 | 50 | 79.3688 | 820.5 | 812.1 | 816.0999 | 23.8 | 0 | 23.8 | 0 | Event Difference
2026-07-30 | 26.8 | 12 | 18.0268 | 97.7 | 47.7 | 78.7168 | 828.9 | 812.6 | 818.0444 | 568.8 | 0 | 568.8 | 0 | Event Difference

## Processing Information
PROCESSING INFORMATION
Toolkit Version | 3DPAWS Validation Toolkit v1.0
Processing Date | 2026-08-13 20:12:48
Station | FEWSNET Kenya Trans-Nzoia:KALRO-Kitale Station.
Input File | kalro-kitale-station_inst-id-15.csv
Observation Period | Unknown
Records Processed | 24863
Columns Loaded | 24
Days Generated | 167
Validation Sections | 7
Overall Status | WARNING
FILES GENERATED
Daily Summary Workbook | Generated
Validation Workbook | Generated
Validation Summary CSV | Generated
Processing Log | Generated
SYSTEM INFORMATION
Python | 3.10.10
Pandas | 2.3.0
OpenPyXL | 3.1.5