## Summary
3DPAWS NETWORK VALIDATION REPORT
Station | FEWSNET Kenya Uasin Gishu:Eldoret Kapsoya Met Station New.
Instrument | FEWSNET Kenya Uasin Gishu:Eldoret Kapsoya Met Station New.
Observation Period | Unknown
Latitude | 0.50975
Longitude | 35.3077
Elevation | 2137.0
Overall Status | WARNING
Records Processed | 59590

## Parameter Validation
PARAMETER VALIDATION
Parameter | Sensor | Sensor Status | Records | Missing | Unrealistic | Spikes | Constant | Persistence | Result | Issues
Temperature | mt1 | WORKING | 59590 | 0 | 0 | 29 | PASS | WARNING | WARNING | 29 spikes detected, Persistence issue detected
Temperature Secondary | st1 | WORKING | 59590 | 0 | 0 | 28 | PASS | WARNING | WARNING | 28 spikes detected, Persistence issue detected
Humidity | sh1 | WORKING | 59590 | 0 | 0 | 45 | PASS | WARNING | WARNING | 45 spikes detected, Persistence issue detected
Pressure | bp1 | WORKING | 59590 | 0 | 59560 | 2 | PASS | WARNING | WARNING | 59560 unrealistic values, 2 spikes detected, Persistence issue detected
Rain Increment 1 | rg | WORKING | 59590 | 51 | 0 | 0 | PASS | WARNING | WARNING | 51 missing values, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WORKING | 59590 | 0 | 0 | 0 | WARNING | WARNING | WARNING | Constant values detected, Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch
Wet Bulb | wbt | WORKING | 59590 | 0 | 0 | 9 | PASS | WARNING | WARNING | 9 spikes detected, Persistence issue detected
Heat Index | hi | WORKING | 59590 | 0 | 0 | 28 | PASS | WARNING | WARNING | 28 spikes detected, Persistence issue detected
Wbgt | wbgt | WORKING | 59590 | 0 | 0 | 25 | PASS | WARNING | WARNING | 25 spikes detected, Persistence issue detected

## Dataset Validation
DATASET VALIDATION
Station | FEWSNET Kenya Uasin Gishu:Eldoret Kapsoya Met Station New.
Input File | eldoret-kapsoya-met-station-new_inst-id-25.csv
Observation Period | Unknown
Rows Loaded | 59590
Columns Loaded | 24
Date Range | Unknown
Dataset Status | PASS
TIMESTAMP VALIDATION
Check | Status | Value
Chronological Order | PASS | Yes
Duplicate Timestamps | PASS | 0 duplicates
Sampling Interval | PASS | 60 sec
Missing Timestamp Gaps | WARNING | 8192 gaps
SENSOR AVAILABILITY
Logical Sensor | Detected Column | Available
Temperature | mt1 | YES
Temperature Secondary | st1 | YES
Humidity | sh1 | YES
Pressure | bp1 | YES
Rain Increment 1 | rg | YES
Rain Increment 2 | rg2 | YES
Rain Total 1 | rgt | YES
Rain Total 2 | rgt2 | YES
Rain Previous 1 | rgp | YES
Rain Previous 2 | rgp2 | YES
Wet Bulb | wbt | YES
Heat Index | hi | YES
Wbgt | wbgt | YES
DATASET ISSUES
• 8192 timestamp gaps detected

## Rainfall Validation
RAINFALL VALIDATION
RAINFALL SUMMARY
Gauge | Sensor | Status | Records | Issues
Rain Increment 1 | rg | WARNING | 59590 | 51 missing values, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WARNING | 59590 | Constant values detected, Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch
RAINFALL INTEGRITY CHECKS
RAINFALL STATISTICS
Metric | RG1 | RG2
Total Rainfall (mm) | 648.6 | 377.4
Maximum Daily Rain (mm) | 56.8 | 59
Average Daily Rain (mm) | 4.35 | 2.53
Rainy Days | 52 | 24
Average Difference (mm) | 2.3 | 2.3
Average Agreement (%) | 74.76 | 74.76
RAINFALL PERFORMANCE SUMMARY
Matching Rainfall Days | 0
Mismatching Rainfall Days | 0
Both Gauges Dry | 93
Overall Gauge Agreement (%) | 74.76
RAINFALL ISSUES
• 51 missing values
• Constant values detected
• Persistence issue detected
• RG1: Increment/Cumulative mismatch
• RG1: Unexpected rainfall reset
• RG2: Increment/Cumulative mismatch
• RG2: Unexpected rainfall reset

## Meteorological Checks
METEOROLOGICAL CHECKS
Meteorological Check | Status | Records Checked | Failures | Remarks
Wet Bulb Temperature | PASS | 59590 | 0 | No inconsistencies detected
Heat Index | PASS | 59590 | 0 | No inconsistencies detected
Relative Humidity | WARNING | 59590 | 21 | 21 inconsistencies detected
Pressure Consistency | WARNING | 59590 | 2 | 2 inconsistencies detected
WBGT Validation | PASS | 59590 | 0 | No inconsistencies detected
METEOROLOGICAL HEALTH SUMMARY
Total Checks | 5
Passed Checks | 3
Warnings | 2
Failed Checks | 0
Skipped Checks | 0
Overall Meteorological Health | DEGRADED
DETAILED METEOROLOGICAL ISSUES
• 2 inconsistencies detected
• 2026-02-06 06:30:40+00:00 - Unrealistic pressure jump (Jump 825.10 hPa)
• 2026-02-21 09:10:05+00:00 - Unrealistic pressure jump (Jump 34.90 hPa)
• 21 inconsistencies detected

## Daily Summary
DAILY SUMMARY
Date | Tmax | Tmin | Tmean | RH_Max | RH_Min | RH_Mean | Pressure_Max | Pressure_Min | Pressure_Mean | Rain_RG1 | Rain_RG2 | Rain_Difference | Rain_Agreement | Rain_Status
2026-01-21 | [9 empty] | 0 | 0 | 0 | 100 | Both Dry
2026-02-05 | [9 empty] | 0 | 0 | 0 | 100 | Both Dry
2026-02-06 | 26.5 | 24.6 | 25.8167 | 57.8 | 46.8 | 50.4067 | 825.1 | 824.7 | 824.8667 | 0 | 1.4 | 1.4 | 0 | Event Difference
2026-02-21 | 24.6 | 14.1 | 15.8849 | 91 | 46.1 | 82.9347 | 791.1 | 788 | 789.7411 | 9.8 | 24.6 | 14.8 | 39.8 | Poor Agreement
2026-02-22 | 24.1 | 13.2 | 15.7521 | 93.8 | 42.9 | 82.538 | 791.3 | 786.4 | 789.6202 | 17 | 18.2 | 1.2 | 93.4 | Good Agreement
2026-02-23 | 23.1 | 12.5 | 17.5178 | 93.4 | 40.4 | 71.1831 | 791.1 | 786.9 | 789.4272 | 3 | 2.8 | 0.2 | 93.3 | Good Agreement
2026-02-24 | 23.1 | 11.9 | 16.6192 | 93.7 | 47.8 | 78.2204 | 791.9 | 787.4 | 789.7956 | 15.6 | 16.8 | 1.2 | 92.9 | Good Agreement
2026-02-25 | 22.8 | 10.4 | 16.6409 | 93.2 | 56.2 | 80.1211 | 792 | 788 | 790.3229 | 6 | 5.8 | 0.2 | 96.7 | Good Agreement
2026-02-26 | 22.6 | 12.7 | 16.2052 | 93.8 | 55.2 | 82.956 | 792.1 | 788.1 | 790.4002 | 8 | 8.6 | 0.6 | 93 | Good Agreement
2026-02-27 | 24.2 | 13.4 | 17.0652 | 94.5 | 52.9 | 81.023 | 791.1 | 786.4 | 788.4673 | 5.8 | 5.6 | 0.2 | 96.6 | Good Agreement
2026-02-28 | 23.1 | 12.8 | 16.432 | 94 | 47.7 | 81.6094 | 790.6 | 786.2 | 788.5894 | 4.2 | 3.8 | 0.4 | 90.5 | Good Agreement
2026-03-01 | 22.1 | 13.6 | 16.1245 | 95.6 | 49.7 | 82.6249 | 792.1 | 787.2 | 790.0266 | 46.4 | 51 | 4.6 | 91 | Good Agreement
2026-03-02 | 23.3 | 13.6 | 16.7857 | 96.1 | 49.2 | 83.1723 | 792.1 | 788 | 790.183 | 16 | 16.6 | 0.6 | 96.4 | Good Agreement
2026-03-03 | 22.8 | 13.5 | 17.3938 | 93.7 | 55.1 | 78.857 | 791.6 | 786.7 | 789.5977 | 2.8 | 2.6 | 0.2 | 92.9 | Good Agreement
2026-03-04 | 21.7 | 14.1 | 17.0349 | 91.5 | 61.7 | 79.9373 | 791.7 | 789 | 790.2675 | 0 | 0.4 | 0.4 | 0 | Event Difference
2026-03-05 | 23.5 | 13.2 | 17.5144 | 94.8 | 46.8 | 77.7381 | 792.2 | 787.7 | 790.8638 | 34.4 | 35.2 | 0.8 | 97.7 | Good Agreement
2026-03-06 | 23 | 12.9 | 17.5063 | 95.2 | 52.7 | 77.8659 | 792.3 | 787.5 | 790.4857 | 34 | 36.6 | 2.6 | 92.9 | Good Agreement
2026-03-07 | 22.9 | 13.6 | 16.9402 | 95.5 | 54.9 | 77.852 | 792.7 | 788.3 | 790.6165 | 0 | 0 | 0 | 100 | Both Dry
2026-03-08 | 23.1 | 10.7 | 18.096 | 94.2 | 46.4 | 71.6002 | 791.8 | 787.8 | 789.9954 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-03-09 | 23.8 | 10.8 | 17.8292 | 92.8 | 48.2 | 71.6861 | 790.2 | 786.1 | 788.8257 | 0 | 0 | 0 | 100 | Both Dry
2026-03-10 | 23.8 | 12.1 | 17.3596 | 94.6 | 41.4 | 78.151 | 791.6 | 786.9 | 789.8013 | 21.2 | 22.4 | 1.2 | 94.6 | Good Agreement
2026-03-11 | 24.5 | 13 | 18.4669 | 95.7 | 36.7 | 75.0198 | 792.2 | 787.5 | 790.5673 | 0 | 0 | 0 | 100 | Both Dry
2026-03-12 | 24.4 | 12.4 | 19.6341 | 94.9 | 40.9 | 66.1506 | 791.8 | 787 | 789.3264 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-03-13 | 24.8 | 12.4 | 18.573 | 94.5 | 36 | 67.6713 | 790.9 | 785.8 | 788.7569 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2026-03-14 | 24.7 | 13.9 | 19.8852 | 83.5 | 31.2 | 60.1918 | 790.5 | 785.9 | 788.3875 | 0 | 0 | 0 | 100 | Both Dry
2026-03-15 | 23.8 | 13.7 | 19.9831 | 75.8 | 38.4 | 56.6019 | 790.8 | 787.3 | 788.605 | 0 | 0 | 0 | 100 | Both Dry
2026-03-16 | 24.1 | 11.4 | 18.2983 | 81.3 | 31.4 | 56.8486 | 791.5 | 787.4 | 789.1456 | 0 | 0 | 0 | 100 | Both Dry
2026-03-17 | 26.2 | 10.8 | 19.0366 | 91.7 | 34.5 | 65.291 | 790 | 785.6 | 788.1575 | 0 | 0 | 0 | 100 | Both Dry
2026-03-18 | 25.6 | 11.6 | 16.8637 | 93.3 | 42.3 | 78.1958 | 791.7 | 786.2 | 789.4405 | 32.4 | 35 | 2.6 | 92.6 | Good Agreement
2026-03-19 | 22.5 | 14.2 | 17.5715 | 94.3 | 54.5 | 80.9097 | 792.3 | 787.9 | 790.0685 | 6.8 | 6.8 | 0 | 100 | Good Agreement
2026-03-20 | 24.4 | 13.2 | 16.5542 | 95.6 | 51.3 | 85.3668 | 791.9 | 786.5 | 789.6586 | 56.8 | 59 | 2.2 | 96.3 | Good Agreement
2026-03-21 | 23 | 12.6 | 15.8148 | 95.6 | 58.1 | 85.3522 | 791 | 787 | 789.4222 | 12 | 12.2 | 0.2 | 98.4 | Good Agreement
2026-03-22 | 24.1 | 12.8 | 17.3211 | 94 | 50.8 | 77.0584 | 790.7 | 786.8 | 789.4211 | 10.2 | 11.4 | 1.2 | 89.5 | Moderate Agreement
2026-03-23 | 13.9 | 13.8 | 13.8556 | 94.1 | 93.9 | 93.9556 | 789.7 | 789.6 | 789.6778 | 0 | 0 | 0 | 100 | Both Dry
2026-03-25 | 22.9 | 16.3 | 20.6125 | 79.6 | 46.8 | 58.7188 | 788.3 | 786.1 | 787.3062 | 0 | 0 | 0 | 100 | Both Dry
2026-03-26 | 19.2 | 11.9 | 15.55 | 93.1 | 60 | 76.55 | 792 | 791 | 791.5 | 0 | 0 | 0 | 100 | Both Dry
2026-03-27 | 14.4 | 14.4 | 14.4 | 88.4 | 88.4 | 88.4 | 791 | 791 | 791 | 0 | 0 | 0 | 100 | Both Dry
2026-04-03 | 23.7 | 19.5 | 22.23 | 62.4 | 44.9 | 49.3 | 792.2 | 790.3 | 791.1 | 0 | 0 | 0 | 100 | Both Dry
2026-04-08 | 18.5 | 13.7 | 16.0389 | 83.7 | 65.9 | 76.8815 | 792.4 | 790.5 | 791.6605 | 1.6 | 0 | 1.6 | 0 | Event Difference
2026-04-09 | 24.4 | 12.8 | 18.4202 | 86.1 | 38.2 | 63.5808 | 792.3 | 788.9 | 790.5847 | 0 | 0 | 0 | 100 | Both Dry
2026-04-10 | 23.9 | 11.6 | 17.4085 | 90.1 | 39.8 | 69.6008 | 792.8 | 789 | 791.0116 | 0 | 0 | 0 | 100 | Both Dry
2026-04-11 | 24.2 | 10.1 | 17.8855 | 91.5 | 40.4 | 67.2655 | 792.8 | 788.6 | 790.8707 | 0 | 0 | 0 | 100 | Both Dry
2026-04-12 | 24.4 | 14.2 | 18.6624 | 87.2 | 40.9 | 67.1996 | 791.8 | 787.5 | 789.7615 | 0 | 0 | 0 | 100 | Both Dry
2026-04-13 | 23.2 | 15.4 | 18.2163 | 82.8 | 48.8 | 70.0862 | 791.4 | 787.4 | 789.4027 | 0 | 0 | 0 | 100 | Both Dry
2026-04-14 | 22.6 | 14.4 | 17.8608 | 82.8 | 50.3 | 70.9617 | 790.9 | 787.5 | 789.3209 | 0 | 0 | 0 | 100 | Both Dry
2026-04-15 | 22.9 | 12.8 | 17.2047 | 88.7 | 53.1 | 73.6372 | 791.4 | 787.5 | 789.4395 | 0 | 0 | 0 | 100 | Both Dry
2026-04-16 | 23.4 | 14.2 | 17.9555 | 85.1 | 50.7 | 71.9414 | 790.3 | 786.1 | 788.573 | 1.2 | 0 | 1.2 | 0 | Event Difference
2026-04-17 | 22.2 | 14.3 | 17.0526 | 84.7 | 53.8 | 74.2416 | 791.7 | 787 | 789.2697 | 0 | 0 | 0 | 100 | Both Dry
2026-04-18 | 23.4 | 14.1 | 18.5047 | 83.1 | 53.2 | 68.7474 | 791.6 | 787.3 | 789.0639 | 0 | 0 | 0 | 100 | Both Dry
2026-04-19 | 23.5 | 13.8 | 18.4204 | 87.5 | 49.5 | 69.0796 | 790.5 | 787.1 | 788.6879 | 1.2 | 0 | 1.2 | 0 | Event Difference
2026-04-20 | 23 | 12.2 | 17.948 | 91.7 | 49.8 | 70.74 | 790.4 | 787.2 | 788.8692 | 5.6 | 0 | 5.6 | 0 | Event Difference
2026-04-21 | 23.4 | 11.1 | 18.4285 | 93.5 | 47.9 | 68.862 | 790.8 | 787.1 | 789.0677 | 0 | 0 | 0 | 100 | Both Dry
2026-04-22 | 24.1 | 12.9 | 18.5051 | 89.6 | 48.1 | 70.6941 | 790.4 | 786.8 | 788.6638 | 0 | 0 | 0 | 100 | Both Dry
2026-04-23 | 23.9 | 12.5 | 17.8726 | 94.6 | 47.6 | 75.4335 | 790.3 | 786.1 | 788.5499 | 25.6 | 0 | 25.6 | 0 | Event Difference
2026-04-24 | 23.8 | 12.3 | 17.8532 | 95.9 | 48 | 77.7313 | 789.9 | 785.8 | 788.2323 | 8 | 0 | 8 | 0 | Event Difference
2026-04-25 | 24.2 | 13.8 | 17.5154 | 94 | 49.4 | 81.7156 | 791.8 | 787.5 | 789.9215 | 8.8 | 0 | 8.8 | 0 | Event Difference
2026-04-26 | 23.1 | 13.4 | 17.4141 | 94.1 | 50 | 80.0919 | 792.8 | 788 | 790.9121 | 54 | 0 | 54 | 0 | Event Difference
2026-04-27 | 23.4 | 13.5 | 16.5361 | 95.2 | 54.7 | 85.4508 | 793.1 | 788.7 | 791.0736 | 48 | 0 | 48 | 0 | Event Difference
2026-04-28 | 22.4 | 13.2 | 15.7955 | 95.1 | 61.6 | 86.7567 | 792.8 | 788.7 | 791.0697 | 18 | 0 | 18 | 0 | Event Difference
2026-04-29 | 22.8 | 13.3 | 16.7143 | 94.1 | 55.9 | 83.2867 | 793 | 789.1 | 791.2454 | 15.6 | 0 | 15.6 | 0 | Event Difference
2026-04-30 | 23.5 | 13.7 | 17.8453 | 91.6 | 50.1 | 75.2401 | 793 | 788.6 | 790.9053 | 11.8 | 0 | 11.8 | 0 | Event Difference
2026-05-01 | 22.4 | 13.8 | 17.6781 | 93.1 | 54.3 | 77.6278 | 792.7 | 788.6 | 790.8634 | 9.8 | 0 | 9.8 | 0 | Event Difference
2026-05-02 | 23.6 | 13.6 | 16.5757 | 93.5 | 61.1 | 85.0185 | 793.9 | 789.6 | 791.9217 | 9.2 | 0 | 9.2 | 0 | Event Difference
2026-05-03 | 25.2 | 13.9 | 17.5064 | 94.4 | 51.4 | 79.7531 | 793.7 | 790.2 | 792.3869 | 1.4 | 0 | 1.4 | 0 | Event Difference
2026-05-04 | 23.8 | 13.8 | 17.5796 | 94.2 | 52 | 80.9785 | 792.9 | 789.3 | 791.4419 | 0.2 | 0 | 0.2 | 0 | Event Difference
2026-05-05 | 23.6 | 13 | 18.0965 | 92.5 | 53.5 | 76.8355 | 791.8 | 788.4 | 790.3377 | 0 | 0 | 0 | 100 | Both Dry
2026-05-06 | 24.1 | 11.6 | 17.9944 | 94.8 | 48.9 | 74.9144 | 791.7 | 787.7 | 789.8745 | 0 | 0 | 0 | 100 | Both Dry
2026-05-07 | 24 | 13.4 | 18.3432 | 92.4 | 52.6 | 75.9508 | 791.6 | 787.6 | 790.2426 | 0 | 0 | 0 | 100 | Both Dry
2026-05-08 | 24.4 | 13.4 | 16.7499 | 92.9 | 56.5 | 83.0265 | 791.7 | 788.7 | 790.5151 | 0 | 0 | 0 | 100 | Both Dry
2026-05-09 | 25.7 | 13.9 | 16.8485 | 93.6 | 48.7 | 82.7416 | 792.1 | 789 | 790.476 | 0 | 0 | 0 | 100 | Both Dry
2026-05-10 | 23.4 | 12.5 | 16.0184 | 94.9 | 58.2 | 86.5783 | 793.3 | 789.2 | 791.5599 | 0 | 0 | 0 | 100 | Both Dry
2026-05-11 | 21.4 | 13.9 | 16.5565 | 93.9 | 65.7 | 83.3667 | 794.1 | 790.8 | 792.7328 | 0 | 0 | 0 | 100 | Both Dry
2026-05-12 | 24.4 | 13.9 | 16.7459 | 93 | 49.4 | 81.7075 | 794.1 | 790 | 792.3534 | 0 | 0 | 0 | 100 | Both Dry
2026-05-13 | 23.2 | 13.6 | 17.2053 | 93.1 | 60.5 | 83.0752 | 792.6 | 791.1 | 791.7662 | 0 | 0 | 0 | 100 | Both Dry
2026-05-14 | 22.8 | 14.2 | 17.1065 | 92 | 66.3 | 80.9375 | 793.4 | 789.6 | 791.3054 | 0 | 0 | 0 | 100 | Both Dry
2026-05-15 | 23.4 | 10.5 | 17.6149 | 93.2 | 44.8 | 71.6997 | 792.1 | 788.5 | 790.5526 | 0 | 0 | 0 | 100 | Both Dry
2026-05-16 | 23.8 | 11.2 | 17.731 | 93.8 | 42.9 | 74.4764 | 792 | 788.4 | 790.5826 | 0 | 0 | 0 | 100 | Both Dry
2026-05-17 | 23.7 | 12.1 | 17.068 | 93.3 | 48.6 | 79.3796 | 793.2 | 789.7 | 791.369 | 1.8 | 0 | 1.8 | 0 | Event Difference
2026-05-18 | 23.3 | 11.4 | 17.4288 | 95.3 | 49.4 | 77.2335 | 793.4 | 789.9 | 791.6712 | 0 | 0 | 0 | 100 | Both Dry
2026-05-19 | 23.3 | 11.4 | 16.6185 | 95 | 47 | 77.4818 | 793.1 | 789.9 | 791.7174 | 0.2 | 0 | 0.2 | 0 | Event Difference
2026-05-20 | 24.2 | 9.9 | 17.3856 | 93.9 | 34.6 | 71.1188 | 793.4 | 789.9 | 791.8396 | 23.2 | 0 | 23.2 | 0 | Event Difference
2026-05-21 | 24.1 | 10.3 | 16.1775 | 93.9 | 32.9 | 76.2819 | 794.1 | 790.4 | 792.5758 | 0.2 | 0 | 0.2 | 0 | Event Difference
2026-05-22 | 23.5 | 10.4 | 16.2345 | 92.7 | 43.3 | 75.9588 | 794 | 791.1 | 792.6251 | 0 | 0 | 0 | 100 | Both Dry
2026-05-23 | 23.4 | 9.1 | 16.1089 | 94 | 38.2 | 70.5378 | 794 | 791.3 | 792.7683 | 0 | 0 | 0 | 100 | Both Dry
2026-05-24 | 23.6 | 9 | 15.9808 | 93.8 | 40.6 | 73.6714 | 794.1 | 790.6 | 792.7532 | 0 | 0 | 0 | 100 | Both Dry
2026-05-25 | 23.8 | 10.3 | 16.8978 | 93.2 | 39 | 69.0303 | 793.3 | 790.3 | 791.8848 | 0 | 0 | 0 | 100 | Both Dry
2026-05-26 | 23.2 | 8.9 | 16.4111 | 94.1 | 44.6 | 70.6374 | 792.7 | 790.6 | 791.7935 | 0 | 0 | 0 | 100 | Both Dry
2026-05-27 | 22.6 | 9.9 | 16.2623 | 92 | 52.8 | 75.8299 | 793.6 | 790.4 | 792.0023 | 0 | 0 | 0 | 100 | Both Dry
2026-05-28 | 24.1 | 11.8 | 17.3456 | 91.5 | 46.6 | 74.0903 | 794.1 | 790.6 | 792.5359 | 0 | 0 | 0 | 100 | Both Dry
2026-05-29 | 23.5 | 11.5 | 17.3787 | 91.2 | 49.7 | 75.0646 | 794.6 | 790.8 | 792.8628 | 0 | 0 | 0 | 100 | Both Dry
2026-05-30 | 23.9 | 11.3 | 17.6812 | 92.5 | 51.3 | 73.6467 | 793.9 | 790.1 | 792.0883 | 0 | 0 | 0 | 100 | Both Dry
2026-05-31 | 24 | 13.4 | 18.08 | 87.2 | 50.4 | 72.6011 | 792.9 | 789.5 | 791.3596 | 0 | 0 | 0 | 100 | Both Dry
2026-06-01 | 23.8 | 11.7 | 17.7142 | 91.1 | 47.2 | 71.0445 | 793.2 | 790 | 791.8431 | 0 | 0 | 0 | 100 | Both Dry
2026-06-02 | 24.5 | 12.4 | 17.6265 | 93 | 48.9 | 74.532 | 793.9 | 790.7 | 792.7327 | 3.6 | 0 | 3.6 | 0 | Event Difference
2026-06-03 | 23.4 | 13.8 | 17.8766 | 93.6 | 51 | 74.0372 | 794.1 | 790.6 | 792.4411 | 1.4 | 0 | 1.4 | 0 | Event Difference
2026-06-04 | 23.2 | 13.2 | 17.7863 | 87.4 | 48.3 | 71.8786 | 793.4 | 789.8 | 791.6412 | 1.4 | 0 | 1.4 | 0 | Event Difference
2026-06-05 | 24 | 11.2 | 17.3131 | 90.2 | 46.8 | 70.2078 | 792.9 | 789.8 | 791.3881 | 0 | 0 | 0 | 100 | Both Dry
2026-06-06 | 25.1 | 11.4 | 18.546 | 89.9 | 35 | 63.741 | 794 | 790.6 | 792.6285 | 0 | 0 | 0 | 100 | Both Dry
2026-06-07 | 24.1 | 9.4 | 17.2217 | 92.1 | 35.8 | 66.6334 | 794.6 | 792.1 | 793.2689 | 0 | 0 | 0 | 100 | Both Dry
2026-06-08 | 24 | 9 | 16.1842 | 92.4 | 30.6 | 67.8996 | 794.6 | 791.4 | 792.9046 | 0 | 0 | 0 | 100 | Both Dry
2026-06-09 | 24.6 | 8.4 | 16.8685 | 90.8 | 26.1 | 63.1152 | 793.6 | 790.4 | 791.9142 | 0 | 0 | 0 | 100 | Both Dry
2026-06-10 | 23.1 | 9.6 | 17.0526 | 85.1 | 30.8 | 62.4818 | 793.1 | 790.2 | 791.5898 | 0 | 0 | 0 | 100 | Both Dry
2026-06-11 | 24 | 8.5 | 18.8922 | 90.6 | 25.4 | 51.9757 | 792.9 | 790.2 | 791.7908 | 0 | 0 | 0 | 100 | Both Dry
2026-06-12 | 24.6 | 8.6 | 19.6649 | 90.4 | 28.7 | 54.1474 | 793.5 | 790.3 | 792.0179 | 0 | 0 | 0 | 100 | Both Dry
2026-06-13 | 23.7 | 8.8 | 16.5767 | 91.3 | 44.2 | 67.574 | 793.7 | 791 | 792.509 | 0 | 0 | 0 | 100 | Both Dry
2026-06-14 | 23.4 | 8.1 | 15.6725 | 90.7 | 31.2 | 70.9804 | 793.4 | 790.7 | 792.1659 | 0 | 0 | 0 | 100 | Both Dry
2026-06-15 | 23 | 9.1 | 15.5029 | 91.3 | 36.3 | 69.0688 | 793.9 | 790.3 | 792.1505 | 0 | 0 | 0 | 100 | Both Dry
2026-06-16 | 26.1 | 7.1 | 18.1278 | 90.8 | 26.7 | 56.3346 | 794.7 | 792.1 | 793.4812 | 0 | 0 | 0 | 100 | Both Dry
2026-06-17 | 23.9 | 7.9 | 17.9637 | 88.8 | 35.6 | 59.4604 | 794.6 | 791.5 | 793.0604 | 0 | 0 | 0 | 100 | Both Dry
2026-06-18 | 24.2 | 8.9 | 16.425 | 91.3 | 37.1 | 67.6981 | 793.3 | 789.7 | 791.3866 | 0 | 0 | 0 | 100 | Both Dry
2026-06-19 | 24.8 | 10.3 | 16.0362 | 89.6 | 44.4 | 73.5512 | 792.1 | 789.1 | 790.8597 | 0 | 0 | 0 | 100 | Both Dry
2026-06-20 | 20 | 11.8 | 14.8971 | 89.1 | 63.2 | 80.1768 | 792.7 | 790.8 | 791.6401 | 0 | 0 | 0 | 100 | Both Dry
2026-06-21 | 23.2 | 10.5 | 17.3619 | 89.3 | 41.8 | 63.0311 | 792.5 | 789.9 | 791.3779 | 0 | 0 | 0 | 100 | Both Dry
2026-06-22 | 24.8 | 9.6 | 16.7793 | 87.7 | 43.7 | 70.4906 | 792.9 | 789.6 | 791.4592 | 0 | 0 | 0 | 100 | Both Dry
2026-06-23 | 24.1 | 10.1 | 16.7856 | 92.2 | 48.9 | 73.5284 | 793.4 | 791 | 792.3638 | 0 | 0 | 0 | 100 | Both Dry
2026-06-24 | 24.9 | 9.4 | 16.2919 | 92.3 | 44.3 | 75.0531 | 794.4 | 791.1 | 793.0822 | 0.8 | 0 | 0.8 | 0 | Event Difference
2026-06-25 | 24.9 | 8.8 | 18.2188 | 94.2 | 46.7 | 70.4798 | 795 | 792.1 | 793.888 | 15.6 | 0 | 15.6 | 0 | Event Difference
2026-06-26 | 24.6 | 9.6 | 17.4509 | 93.3 | 51 | 74.6675 | 794.7 | 790.9 | 793.1051 | 9.2 | 0 | 9.2 | 0 | Event Difference
2026-06-27 | 23.6 | 11.8 | 17.857 | 93.8 | 51.7 | 73.2598 | 794.4 | 790.9 | 792.8204 | 0 | 0 | 0 | 100 | Both Dry
2026-06-28 | 24.7 | 11.7 | 17.628 | 89.6 | 45.2 | 70.6635 | 793.5 | 790 | 792.35 | 0 | 0 | 0 | 100 | Both Dry
2026-06-29 | 25.9 | 10.8 | 19.9232 | 91.8 | 42.9 | 65.6608 | 793.4 | 789.8 | 792.0743 | 0 | 0 | 0 | 100 | Both Dry
2026-06-30 | 25.8 | 10.1 | 18.9873 | 92.1 | 37.3 | 67.5017 | 793 | 789.4 | 791.3081 | 0.2 | 0 | 0.2 | 0 | Event Difference
2026-07-01 | 25.3 | 10.5 | 17.7565 | 93.5 | 50.1 | 73.5794 | 792.5 | 789.4 | 791.0471 | 0 | 0 | 0 | 100 | Both Dry
2026-07-02 | 24.1 | 11.6 | 16.3597 | 92.4 | 54.3 | 80.1323 | 793.9 | 790.8 | 792.4967 | 7.4 | 0 | 7.4 | 0 | Event Difference
2026-07-03 | 24.9 | 11.2 | 18.8494 | 94.3 | 46.5 | 72.159 | 794.7 | 790.9 | 793.2699 | 0 | 0 | 0 | 100 | Both Dry
2026-07-04 | 25.5 | 11.4 | 18.8371 | 90.2 | 47.5 | 70.2652 | 793.8 | 790.3 | 792.193 | 0 | 0 | 0 | 100 | Both Dry
2026-07-05 | 26.4 | 10.6 | 18.5966 | 91.9 | 33.4 | 67.9541 | 792.9 | 789.8 | 791.5799 | 0 | 0 | 0 | 100 | Both Dry
2026-07-06 | 23.1 | 11.6 | 17.0042 | 89.2 | 46 | 68.9765 | 794.1 | 791.7 | 792.985 | 0 | 0 | 0 | 100 | Both Dry
2026-07-07 | 23.3 | 11.2 | 18.3062 | 78.3 | 34.6 | 53.8232 | 795.2 | 792.1 | 793.6609 | 0 | 0 | 0 | 100 | Both Dry
2026-07-08 | 24.6 | 10.2 | 17.978 | 90.7 | 41 | 64.6548 | 794.4 | 791 | 792.5213 | 0 | 0 | 0 | 100 | Both Dry
2026-07-09 | 24.7 | 9.4 | 16.8506 | 91 | 46.8 | 73.0506 | 793.2 | 789.6 | 791.6784 | 0 | 0 | 0 | 100 | Both Dry
2026-07-10 | 24.9 | 9.8 | 17.2977 | 93.1 | 50 | 73.4954 | 793 | 789.8 | 791.6696 | 0.2 | 0 | 0.2 | 0 | Event Difference
2026-07-11 | 23.7 | 11.9 | 17.3131 | 90.4 | 50.6 | 75.2738 | 793.3 | 790.6 | 792.177 | 0 | 0 | 0 | 100 | Both Dry
2026-07-12 | 24.7 | 10.5 | 19.5545 | 93.6 | 39.6 | 62.9436 | 793.8 | 789.6 | 791.561 | 0 | 0 | 0 | 100 | Both Dry
2026-07-13 | 25.2 | 9.6 | 17.1984 | 92 | 37.7 | 68.0728 | 793.2 | 789.1 | 790.9056 | 0 | 0 | 0 | 100 | Both Dry
2026-07-14 | 24.5 | 10.3 | 17.1372 | 90 | 41.7 | 65.9735 | 792.6 | 789.6 | 791.1579 | 0 | 0 | 0 | 100 | Both Dry
2026-07-15 | 25.1 | 8.3 | 16.087 | 87.9 | 30.3 | 66.2656 | 793.7 | 790.3 | 792.2685 | 0 | 0 | 0 | 100 | Both Dry
2026-07-16 | 26.1 | 8.4 | 15.7823 | 86.4 | 35.9 | 70.8693 | 794.4 | 790.5 | 792.6136 | 0 | 0 | 0 | 100 | Both Dry
2026-07-17 | 25.2 | 8.3 | 17.9599 | 91.3 | 45.7 | 67.0555 | 793.4 | 789.2 | 791.919 | 0 | 0 | 0 | 100 | Both Dry
2026-07-18 | 23.1 | 11.4 | 16.6204 | 90.1 | 57 | 78.0446 | 793.9 | 790.9 | 792.5611 | 2.2 | 0 | 2.2 | 0 | Event Difference
2026-07-19 | 24.2 | 10.5 | 16.9632 | 91.3 | 52.2 | 74.5939 | 793.2 | 790.1 | 791.4679 | 0 | 0 | 0 | 100 | Both Dry
2026-07-20 | 24.5 | 10.1 | 17.6641 | 92.2 | 39.5 | 71.47 | 792.4 | 789.1 | 791.2252 | 0 | 0 | 0 | 100 | Both Dry
2026-07-21 | 25.2 | 9.9 | 20.4817 | 92.9 | 35.2 | 61.1709 | 792.2 | 788.7 | 790.774 | 0 | 0 | 0 | 100 | Both Dry
2026-07-24 | 22.4 | 16.1 | 18.5333 | 75.7 | 58 | 69.1667 | 792.7 | 791.9 | 792.2333 | 3.4 | 0 | 3.4 | 0 | Event Difference
2026-07-25 | 23.4 | 14.6 | 20.625 | 91.9 | 52.8 | 65.75 | 792.7 | 790.9 | 791.925 | 15.2 | 0 | 15.2 | 0 | Event Difference
2026-07-26 | 24.2 | 23 | 23.6 | 56.2 | 54.8 | 55.5 | 790.5 | 789.5 | 790 | 0 | 0 | 0 | 100 | Both Dry
2026-07-28 | 15.7 | 15.7 | 15.7 | 81.6 | 81.6 | 81.6 | 790.4 | 790.4 | 790.4 | 0 | 0 | 0 | 100 | Both Dry
2026-07-29 | 14.8 | 14.8 | 14.8 | 91.9 | 91.9 | 91.9 | 793.5 | 793.5 | 793.5 | 0 | 0 | 0 | 100 | Both Dry
2026-07-30 | 22.6 | 17.9 | 20.6 | 73.7 | 54.9 | 64 | 794.2 | 791 | 793.025 | 0 | 0 | 0 | 100 | Both Dry

## Processing Information
PROCESSING INFORMATION
Toolkit Version | 3DPAWS Validation Toolkit v1.0
Processing Date | 2026-08-13 20:12:34
Station | FEWSNET Kenya Uasin Gishu:Eldoret Kapsoya Met Station New.
Input File | eldoret-kapsoya-met-station-new_inst-id-25.csv
Observation Period | Unknown
Records Processed | 59590
Columns Loaded | 24
Days Generated | 149
Validation Sections | 7
Overall Status | WARNING
FILES GENERATED
Daily Summary Workbook | Generated
Validation Workbook | Generated
Validation Summary CSV | Generated
Processing Log | Generated
SYSTEM INFORMATION
Python | 3.10.10
Pandas | 2.3.0
OpenPyXL | 3.1.5