## Summary
3DPAWS NETWORK VALIDATION REPORT
Station | FEWSNET Kenya VOI Mengo Primary School
Instrument | FEWSNET Kenya VOI Mengo Primary School
Observation Period | Unknown
Latitude | -3.44239
Longitude | 38.4632
Elevation | 679.0
Overall Status | WARNING
Records Processed | 485219

## Parameter Validation
PARAMETER VALIDATION
Parameter | Sensor | Sensor Status | Records | Missing | Unrealistic | Spikes | Constant | Persistence | Result | Issues
Temperature | mt1 | WORKING | 485219 | 145 | 0 | 3 | PASS | WARNING | WARNING | 145 missing values, 3 spikes detected, Persistence issue detected
Temperature Secondary | st1 | WORKING | 485219 | 145 | 0 | 3 | PASS | WARNING | WARNING | 145 missing values, 3 spikes detected, Persistence issue detected
Humidity | sh1 | WORKING | 485219 | 148 | 0 | 3 | PASS | WARNING | WARNING | 148 missing values, 3 spikes detected, Persistence issue detected
Pressure | bp1 | WORKING | 485219 | 0 | 159 | 9 | PASS | WARNING | WARNING | 159 unrealistic values, 9 spikes detected, Persistence issue detected
Rain Increment 1 | rg | WORKING | 485219 | 0 | 0 | 0 | WARNING | WARNING | WARNING | Constant values detected, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WORKING | 485219 | 0 | 0 | 0 | WARNING | WARNING | WARNING | Constant values detected, Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset
Wet Bulb | wbt | WORKING | 485219 | 148 | 0 | 3 | PASS | WARNING | WARNING | 148 missing values, 3 spikes detected, Persistence issue detected
Heat Index | hi | WORKING | 485219 | 145 | 0 | 6 | PASS | WARNING | WARNING | 145 missing values, 6 spikes detected, Persistence issue detected
Wbgt | wbgt | WORKING | 485219 | 145 | 0 | 6 | PASS | WARNING | WARNING | 145 missing values, 6 spikes detected, Persistence issue detected

## Dataset Validation
DATASET VALIDATION
Station | FEWSNET Kenya VOI Mengo Primary School
Input File | kenya-voi-mengo-primary-school_inst-id-66.csv
Observation Period | Unknown
Rows Loaded | 485219
Columns Loaded | 25
Date Range | Unknown
Dataset Status | PASS
TIMESTAMP VALIDATION
Check | Status | Value
Chronological Order | PASS | Yes
Duplicate Timestamps | PASS | 0 duplicates
Sampling Interval | PASS | 60 sec
Missing Timestamp Gaps | WARNING | 3314 gaps
SENSOR AVAILABILITY
Logical Sensor | Detected Column | Available
Temperature | mt1 | YES
Temperature Secondary | st1 | YES
Humidity | sh1 | YES
Pressure | bp1 | YES
Rain Increment 1 | rg | YES
Rain Increment 2 | rg2 | YES
Rain Total 1 | rgt | YES
Rain Total 2 | rgt2 | YES
Rain Previous 1 | rgp | YES
Rain Previous 2 | rgp2 | YES
Wet Bulb | wbt | YES
Heat Index | hi | YES
Wbgt | wbgt | YES
DATASET ISSUES
• 3314 timestamp gaps detected

## Rainfall Validation
RAINFALL VALIDATION
RAINFALL SUMMARY
Gauge | Sensor | Status | Records | Issues
Rain Increment 1 | rg | WARNING | 485219 | Constant values detected, Persistence issue detected, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Increment/Cumulative mismatch, RG1: Unexpected rainfall reset
Rain Increment 2 | rg2 | WARNING | 485219 | Constant values detected, Persistence issue detected, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Increment/Cumulative mismatch, RG2: Unexpected rainfall reset
RAINFALL INTEGRITY CHECKS
RAINFALL STATISTICS
Metric | RG1 | RG2
Total Rainfall (mm) | 403.8 | 455.2
Maximum Daily Rain (mm) | 56.8 | 47
Average Daily Rain (mm) | 1.17 | 1.32
Rainy Days | 62 | 70
Average Difference (mm) | 0.25 | 0.25
Average Agreement (%) | 93.76 | 93.76
RAINFALL PERFORMANCE SUMMARY
Matching Rainfall Days | 0
Mismatching Rainfall Days | 0
Both Gauges Dry | 273
Overall Gauge Agreement (%) | 93.76
RAINFALL ISSUES
• Constant values detected
• Persistence issue detected
• RG1: Increment/Cumulative mismatch
• RG1: Unexpected rainfall reset
• RG2: Increment/Cumulative mismatch
• RG2: Unexpected rainfall reset

## Meteorological Checks
METEOROLOGICAL CHECKS
Meteorological Check | Status | Records Checked | Failures | Remarks
Wet Bulb Temperature | PASS | 485071 | 0 | No inconsistencies detected
Heat Index | WARNING | 485071 | 3328 | 3328 inconsistencies detected
Relative Humidity | WARNING | 485071 | 13 | 13 inconsistencies detected
Pressure Consistency | WARNING | 485219 | 9 | 9 inconsistencies detected
WBGT Validation | PASS | 485071 | 0 | No inconsistencies detected
METEOROLOGICAL HEALTH SUMMARY
Total Checks | 5
Passed Checks | 2
Warnings | 3
Failed Checks | 0
Skipped Checks | 0
Overall Meteorological Health | DEGRADED
DETAILED METEOROLOGICAL ISSUES
• 13 inconsistencies detected
• 2025-08-23 07:18:50+00:00 - Unrealistic pressure jump (Jump 941.40 hPa)
• 2025-08-23 09:52:34+00:00 - Unrealistic pressure jump (Jump 940.70 hPa)
• 2025-08-23 10:07:45+00:00 - Unrealistic pressure jump (Jump 938.50 hPa)
• 2026-02-26 17:05:21+00:00 - Unrealistic pressure jump (Jump 933.60 hPa)
• 2026-02-26 19:04:09+00:00 - Unrealistic pressure jump (Jump 845.30 hPa)
• 2026-02-26 19:05:09+00:00 - Unrealistic pressure jump (Jump 90.10 hPa)
• 2026-02-26 19:15:12+00:00 - Unrealistic pressure jump (Jump 935.60 hPa)
• 2026-02-26 19:52:22+00:00 - Unrealistic pressure jump (Jump 845.30 hPa)
• 2026-02-26 19:53:22+00:00 - Unrealistic pressure jump (Jump 90.00 hPa)
• 3328 inconsistencies detected
• 9 inconsistencies detected

## Daily Summary
DAILY SUMMARY
Date | Tmax | Tmin | Tmean | RH_Max | RH_Min | RH_Mean | Pressure_Max | Pressure_Min | Pressure_Mean | Rain_RG1 | Rain_RG2 | Rain_Difference | Rain_Agreement | Rain_Status
2025-08-21 | [9 empty] | 0 | 0 | 0 | 100 | Both Dry
2025-08-23 | 30.1 | 19.8 | 23.5678 | 75.4 | 36 | 58.604 | 941.4 | 936.6 | 938.7586 | 56.8 | 46.8 | 10 | 82.4 | Moderate Agreement
2025-08-24 | 28.1 | 18.6 | 21.6511 | 89.1 | 48 | 74.2297 | 942.2 | 938.5 | 940.4953 | 0.2 | 0 | 0.2 | 0 | Event Difference
2025-08-25 | 32.8 | 18.5 | 23.4337 | 85.7 | 33.6 | 63.2981 | 942.7 | 938 | 940.8854 | 0 | 0 | 0 | 100 | Both Dry
2025-08-26 | 32.1 | 18.3 | 23.2455 | 83.6 | 36 | 64.611 | 944.3 | 938.7 | 941.8574 | 0 | 0 | 0 | 100 | Both Dry
2025-08-27 | 32 | 17.9 | 23.6774 | 83.4 | 33.2 | 60.9604 | 943 | 938.2 | 941.0404 | 0 | 0 | 0 | 100 | Both Dry
2025-08-28 | 33.6 | 18.3 | 24.3329 | 78.9 | 28.4 | 55.6008 | 943.2 | 937.8 | 940.9703 | 0 | 0 | 0 | 100 | Both Dry
2025-08-29 | 31.1 | 18.4 | 23.1511 | 80.6 | 34.9 | 58.8377 | 943.2 | 938.5 | 941.2692 | 0 | 0 | 0 | 100 | Both Dry
2025-08-30 | 33.4 | 15.5 | 23.954 | 85.8 | 27.1 | 52.9564 | 944.5 | 939.2 | 941.8031 | 0 | 0 | 0 | 100 | Both Dry
2025-08-31 | 32.6 | 18.4 | 23.0048 | 89 | 34.9 | 66.0568 | 944 | 939.5 | 941.7561 | 0 | 0 | 0 | 100 | Both Dry
2025-09-01 | 33.1 | 17.9 | 23.8381 | 84.7 | 26.7 | 58.4669 | 943.1 | 937.3 | 940.3444 | 0 | 0 | 0 | 100 | Both Dry
2025-09-02 | 31.1 | 17.6 | 23.2008 | 82.2 | 35.7 | 55.2319 | 942.5 | 936.8 | 940.0053 | 0 | 0 | 0 | 100 | Both Dry
2025-09-03 | 31 | 17.8 | 23.1929 | 81.9 | 36 | 60.2093 | 942.7 | 937.4 | 940.0226 | 0 | 0 | 0 | 100 | Both Dry
2025-09-04 | 27.6 | 17.9 | 22.1346 | 82.9 | 44.2 | 63.941 | 941.6 | 937 | 939.5459 | 0 | 0 | 0 | 100 | Both Dry
2025-09-05 | 33.3 | 17.6 | 23.8179 | 85.8 | 26.8 | 56.4978 | 941.8 | 936.3 | 939.1185 | 0 | 0 | 0 | 100 | Both Dry
2025-09-06 | 34.1 | 14.7 | 23.3375 | 87.8 | 24.8 | 56.5881 | 941.9 | 936.5 | 939.7646 | 0 | 0 | 0 | 100 | Both Dry
2025-09-07 | 32.6 | 15.8 | 23.7015 | 85.3 | 32.7 | 59.4402 | 943.7 | 937.7 | 940.7469 | 0 | 0 | 0 | 100 | Both Dry
2025-09-08 | 33.7 | 16.4 | 24.4969 | 90.3 | 35.2 | 65.4829 | 941.8 | 936.3 | 939.6315 | 0 | 0 | 0 | 100 | Both Dry
2025-09-09 | 29 | 19.2 | 23.6445 | 91.7 | 48.7 | 70.0473 | 942.9 | 938.2 | 940.4254 | 0.8 | 1 | 0.2 | 80 | Moderate Agreement
2025-09-10 | 33 | 19.3 | 24.6556 | 85.2 | 33.6 | 63.1288 | 942.2 | 936.8 | 940.0442 | 0 | 0 | 0 | 100 | Both Dry
2025-09-11 | 31.5 | 18.6 | 23.7053 | 84.7 | 35.3 | 63.3389 | 942.9 | 937.5 | 940.4638 | 0 | 0 | 0 | 100 | Both Dry
2025-09-12 | 31.2 | 18.1 | 22.8893 | 84.5 | 36.3 | 65.1364 | 942.6 | 937.7 | 940.3161 | 0 | 0 | 0 | 100 | Both Dry
2025-09-13 | 34 | 18.2 | 24.6783 | 83.7 | 25.1 | 55.5064 | 941.9 | 936.2 | 939.0831 | 0 | 0 | 0 | 100 | Both Dry
2025-09-14 | 34.8 | 18 | 24.3929 | 84.6 | 30.1 | 60.2069 | 941.6 | 935.2 | 938.4229 | 0 | 0 | 0 | 100 | Both Dry
2025-09-15 | 34.6 | 17 | 24.6917 | 85.3 | 32 | 60.8471 | 940.9 | 934.9 | 938.0533 | 0 | 0 | 0 | 100 | Both Dry
2025-09-16 | 34.6 | 17.8 | 24.9616 | 83.7 | 30 | 56.7681 | 940.6 | 934.6 | 937.921 | 0 | 0 | 0 | 100 | Both Dry
2025-09-17 | 35.7 | 15.9 | 25.4804 | 83.1 | 32.5 | 60.9541 | 940.3 | 934.6 | 937.822 | 0 | 0 | 0 | 100 | Both Dry
2025-09-18 | 29.4 | 19.6 | 23.4688 | 93.5 | 59.3 | 80.8885 | 940.9 | 936.3 | 938.9455 | 0.2 | 6.4 | 6.2 | 3.1 | Poor Agreement
2025-09-19 | 33 | 18.6 | 24.3787 | 87.7 | 33.4 | 63.6709 | 942.5 | 937 | 939.7797 | 0 | 0 | 0 | 100 | Both Dry
2025-09-20 | 29.2 | 20.2 | 22.5989 | 90.7 | 50.1 | 75.3469 | 943.1 | 938.7 | 940.4815 | 0.2 | 4 | 3.8 | 5 | Poor Agreement
2025-09-21 | 32 | 18.8 | 24.3391 | 85.2 | 38.3 | 62.6067 | 941.3 | 936.4 | 939.0922 | 0 | 0 | 0 | 100 | Both Dry
2025-09-22 | 32.2 | 19 | 24.442 | 82.4 | 37.3 | 64.7116 | 942.5 | 937.9 | 940.3221 | 0 | 0 | 0 | 100 | Both Dry
2025-09-23 | 30 | 17.8 | 23.2139 | 85.7 | 38.9 | 64.8044 | 944 | 939.4 | 941.5946 | 0 | 0 | 0 | 100 | Both Dry
2025-09-24 | 33.8 | 16.4 | 23.8817 | 88.1 | 31.2 | 60.6526 | 942.9 | 937 | 940.1835 | 0 | 0 | 0 | 100 | Both Dry
2025-09-25 | 33.7 | 18.1 | 24.356 | 82.3 | 33.5 | 58.8463 | 942.1 | 936.1 | 939.3019 | 0 | 0 | 0 | 100 | Both Dry
2025-09-26 | 33.4 | 15.9 | 24.2844 | 90.2 | 34 | 56.3683 | 941.6 | 936 | 938.9456 | 0 | 0 | 0 | 100 | Both Dry
2025-09-27 | 31.3 | 19.1 | 24.2889 | 83 | 36 | 55.1004 | 941 | 936.5 | 939.0955 | 0 | 0 | 0 | 100 | Both Dry
2025-09-28 | 33.8 | 18.6 | 24.5574 | 85.3 | 30.1 | 60.0831 | 942.2 | 936.2 | 939.2422 | 0 | 0 | 0 | 100 | Both Dry
2025-09-29 | 35.9 | 15.2 | 24.9192 | 90.9 | 24.3 | 58.0297 | 940.9 | 933.8 | 937.483 | 0 | 0 | 0 | 100 | Both Dry
2025-09-30 | 35.4 | 16.1 | 25.1248 | 92.6 | 18.4 | 56.7785 | 939.8 | 934.4 | 937.4479 | 0 | 0 | 0 | 100 | Both Dry
2025-10-01 | 35.2 | 17.2 | 25.5217 | 82.7 | 20.5 | 54.707 | 940.3 | 934.7 | 937.6994 | 0 | 0 | 0 | 100 | Both Dry
2025-10-02 | 36.1 | 15.5 | 25.4088 | 89.3 | 24.3 | 57.5489 | 939.9 | 933.3 | 936.9119 | 0 | 0 | 0 | 100 | Both Dry
2025-10-03 | 34.7 | 20.9 | 25.6477 | 78.2 | 34.7 | 60.3773 | 939.9 | 934.8 | 937.9015 | 0 | 0 | 0 | 100 | Both Dry
2025-10-04 | 30.4 | 20.6 | 24.1364 | 82.7 | 44.8 | 65.0555 | 941.2 | 936.7 | 938.9136 | 0 | 0 | 0 | 100 | Both Dry
2025-10-05 | 33.8 | 20.1 | 25.1933 | 84.7 | 29.9 | 60.0497 | 940.9 | 934.8 | 938.2427 | 0 | 0 | 0 | 100 | Both Dry
2025-10-06 | 32.3 | 20.1 | 24.6423 | 80.2 | 39 | 64.0323 | 940.9 | 936.3 | 939.0157 | 0 | 0 | 0 | 100 | Both Dry
2025-10-07 | 31.1 | 20.7 | 23.5912 | 89.5 | 46 | 74.7347 | 942.1 | 937.1 | 939.7633 | 0.2 | 0.6 | 0.4 | 33.3 | Poor Agreement
2025-10-08 | 33.2 | 20.7 | 25.4688 | 89.1 | 34.5 | 64.1092 | 941.8 | 936.3 | 939.4662 | 0 | 0 | 0 | 100 | Both Dry
2025-10-09 | 32.9 | 20.4 | 23.9188 | 86.3 | 44 | 73.5754 | 942.4 | 937.8 | 940.2917 | 0.2 | 0.4 | 0.2 | 50 | Poor Agreement
2025-10-10 | 33.6 | 19.2 | 24.9435 | 86.7 | 32.7 | 64.298 | 941.8 | 936.3 | 939.1303 | 0 | 0 | 0 | 100 | Both Dry
2025-10-11 | 33.8 | 17.7 | 24.9841 | 87.8 | 30.2 | 60.0931 | 940.7 | 934.6 | 937.506 | 0 | 0 | 0 | 100 | Both Dry
2025-10-12 | 33.4 | 18.8 | 25.1342 | 84.8 | 31.7 | 60.5338 | 939.9 | 934.2 | 937.195 | 0 | 0 | 0 | 100 | Both Dry
2025-10-13 | 33.8 | 18.6 | 24.9913 | 88.5 | 33.5 | 61.8658 | 940.6 | 934.5 | 937.6434 | 0 | 0 | 0 | 100 | Both Dry
2025-10-14 | 33.8 | 19.5 | 25.1506 | 88.1 | 35.4 | 63.0374 | 941.2 | 934.2 | 937.5787 | 0 | 0 | 0 | 100 | Both Dry
2025-10-15 | 35.3 | 20.5 | 25.7011 | 81.9 | 32.2 | 61.6268 | 939.8 | 933.3 | 936.7327 | 0 | 0 | 0 | 100 | Both Dry
2025-10-16 | 31.2 | 19.9 | 24.7548 | 83.7 | 40.8 | 64.9074 | 938.9 | 933.7 | 936.5677 | 0 | 0 | 0 | 100 | Both Dry
2025-10-17 | 34.1 | 17.1 | 24.9505 | 89.3 | 34.7 | 64.5006 | 940.4 | 934.9 | 938.1865 | 0 | 0 | 0 | 100 | Both Dry
2025-10-18 | 34.6 | 17.8 | 25.3234 | 83.8 | 32.2 | 59.9712 | 941.7 | 935 | 938.6276 | 0 | 0 | 0 | 100 | Both Dry
2025-10-19 | 35.2 | 13.9 | 24.5283 | 85.6 | 25.7 | 57.3127 | 942.7 | 934.7 | 938.3034 | 0 | 0 | 0 | 100 | Both Dry
2025-10-20 | 34.8 | 16.8 | 24.7893 | 89.8 | 30.2 | 58.9975 | 939.9 | 933.5 | 936.8029 | 0 | 0 | 0 | 100 | Both Dry
2025-10-21 | 35.8 | 16.8 | 25.425 | 83.3 | 28.2 | 57.0936 | 939.6 | 933.4 | 937.0569 | 0 | 0 | 0 | 100 | Both Dry
2025-10-22 | 34.6 | 17.1 | 25.3717 | 87.6 | 34.2 | 58.8785 | 940.4 | 934.6 | 937.8433 | 0 | 0 | 0 | 100 | Both Dry
2025-10-23 | 33.3 | 19.7 | 25.5232 | 80.3 | 38.7 | 63.4739 | 941.1 | 934.3 | 937.8249 | 0 | 0 | 0 | 100 | Both Dry
2025-10-24 | 35.2 | 22.1 | 26.3092 | 79.8 | 33.8 | 59.3119 | 940.3 | 934.8 | 937.5022 | 0 | 0 | 0 | 100 | Both Dry
2025-10-25 | 36.2 | 18.6 | 26.6369 | 85.6 | 27.9 | 56.7308 | 939.5 | 932.8 | 936.4297 | 0 | 0 | 0 | 100 | Both Dry
2025-10-26 | 38.6 | 18.2 | 27.3784 | 83.8 | 23.6 | 55.8033 | 938.6 | 931.7 | 935.7268 | 0 | 0 | 0 | 100 | Both Dry
2025-10-27 | 39.2 | 19.9 | 26.6007 | 89.3 | 29 | 66.8059 | 938.3 | 932.1 | 935.8942 | 1.6 | 1.8 | 0.2 | 88.9 | Moderate Agreement
2025-10-28 | 31.8 | 20.6 | 24.3139 | 94.1 | 51.6 | 80.1185 | 938.5 | 934.6 | 936.6554 | 6.8 | 6.6 | 0.2 | 97.1 | Good Agreement
2025-10-29 | 32.8 | 19.9 | 23.5352 | 94.1 | 46 | 82.029 | 939.1 | 933.7 | 937.0675 | 12 | 12 | 0 | 100 | Good Agreement
2025-10-30 | 27.2 | 20.4 | 23.1155 | 94.2 | 57.4 | 77.9747 | 940 | 936.3 | 938.0502 | 3.4 | 4.4 | 1 | 77.3 | Moderate Agreement
2025-10-31 | 33.7 | 20.9 | 25.3608 | 84.4 | 40.6 | 67.6494 | 940.2 | 935 | 937.8516 | 0 | 0 | 0 | 100 | Both Dry
2025-11-01 | 33.1 | 20.4 | 25.1449 | 87 | 39.6 | 68.0423 | 941.1 | 935.2 | 938.393 | 0 | 0 | 0 | 100 | Both Dry
2025-11-02 | 33.6 | 19.2 | 25.3517 | 90 | 39.4 | 66.879 | 941.4 | 935.8 | 938.8559 | 0 | 0 | 0 | 100 | Both Dry
2025-11-03 | 34.4 | 20.7 | 25.7593 | 86.4 | 37.5 | 66.5032 | 942 | 936.5 | 939.7117 | 0 | 0 | 0 | 100 | Both Dry
2025-11-04 | 34.5 | 20.4 | 26.486 | 83 | 34.8 | 62.4191 | 941.9 | 935.7 | 939.3034 | 0 | 0 | 0 | 100 | Both Dry
2025-11-05 | 35.9 | 20.1 | 26.8275 | 87.7 | 33.5 | 63.5011 | 940.8 | 934.4 | 937.914 | 0 | 0 | 0 | 100 | Both Dry
2025-11-06 | 34.2 | 19.9 | 26.1752 | 86.2 | 36.9 | 65.3415 | 939 | 933 | 936.3264 | 0 | 0 | 0 | 100 | Both Dry
2025-11-07 | 34.8 | 18.7 | 25.8556 | 89.3 | 34.7 | 63.2572 | 938.5 | 933.3 | 936.4008 | 0 | 0 | 0 | 100 | Both Dry
2025-11-08 | 34.9 | 18.3 | 25.5678 | 93.3 | 35.6 | 69.0868 | 939.9 | 934.4 | 937.6705 | 7 | 0.2 | 6.8 | 2.9 | Poor Agreement
2025-11-09 | 34.1 | 20.2 | 25.6889 | 94.2 | 37.2 | 73.0359 | 940.4 | 934.3 | 937.8431 | 0 | 0 | 0 | 100 | Both Dry
2025-11-10 | 34.5 | 21 | 26.0292 | 93.9 | 35.2 | 70.0032 | 940.1 | 934.1 | 937.5516 | 0 | 0 | 0 | 100 | Both Dry
2025-11-11 | 34.7 | 22.1 | 26.9994 | 88.6 | 34.7 | 65.4881 | 939.6 | 933.5 | 936.8044 | 0 | 0 | 0 | 100 | Both Dry
2025-11-12 | 35.6 | 19.9 | 27.1447 | 93.8 | 33 | 64.3992 | 939 | 933.1 | 936.7483 | 4.2 | 4 | 0.2 | 95.2 | Good Agreement
2025-11-13 | 32.7 | 21.1 | 25.4809 | 95.4 | 40.7 | 76.6324 | 940.9 | 933.9 | 937.8041 | 13.2 | 18.6 | 5.4 | 71 | Poor Agreement
2025-11-14 | 33.9 | 21.5 | 25.8883 | 94.6 | 35.9 | 72.862 | 940.6 | 934.1 | 937.7967 | 0.8 | 1.2 | 0.4 | 66.7 | Poor Agreement
2025-11-15 | 34.9 | 19.8 | 26.4907 | 95 | 36.4 | 68.7784 | 939.4 | 934 | 937.3493 | 0 | 0 | 0 | 100 | Both Dry
2025-11-16 | 35 | 20.4 | 26.3295 | 90.5 | 35.2 | 67.7556 | 940.7 | 934.9 | 938.1141 | 0 | 0 | 0 | 100 | Both Dry
2025-11-17 | 35.2 | 19.6 | 26.915 | 94.5 | 33.8 | 67.259 | 941 | 935 | 938.1379 | 0 | 0 | 0 | 100 | Both Dry
2025-11-18 | 35.5 | 22 | 27.6456 | 92.8 | 34.7 | 65.1437 | 939.5 | 932.5 | 936.3293 | 0 | 0 | 0 | 100 | Both Dry
2025-11-19 | 34.8 | 21.2 | 27.0081 | 94.9 | 36.2 | 68.4741 | 937.6 | 931.8 | 935.5945 | 1.6 | 2.2 | 0.6 | 72.7 | Poor Agreement
2025-11-20 | 34.9 | 21.8 | 27.5883 | 92 | 37.8 | 67.0939 | 938.5 | 932.8 | 936.071 | 0 | 0 | 0 | 100 | Both Dry
2025-11-21 | 34.3 | 22.2 | 27.0853 | 89.9 | 37.1 | 68.0127 | 939 | 933.6 | 936.9629 | 0.2 | 0.6 | 0.4 | 33.3 | Poor Agreement
2025-11-22 | 35.1 | 21.6 | 26.5402 | 92.4 | 34.6 | 69.5925 | 940.1 | 934.4 | 937.8372 | 0 | 0 | 0 | 100 | Both Dry
2025-11-23 | 34.4 | 21.2 | 26.0194 | 93.5 | 35.5 | 69.8203 | 940.8 | 935 | 938.3588 | 1 | 1.4 | 0.4 | 71.4 | Poor Agreement
2025-11-24 | 35.5 | 20.5 | 26.8615 | 89.8 | 32.7 | 65.7996 | 941.3 | 935.6 | 938.8154 | 0 | 0 | 0 | 100 | Both Dry
2025-11-25 | 34.6 | 19.4 | 25.6177 | 93.1 | 35.4 | 69.1298 | 941.2 | 935.9 | 938.6663 | 0 | 0 | 0 | 100 | Both Dry
2025-11-26 | 34.9 | 17.8 | 25.8849 | 94.1 | 32.9 | 65.8173 | 940.7 | 934.8 | 937.8309 | 0 | 0 | 0 | 100 | Both Dry
2025-11-27 | 34.9 | 20.4 | 26.1383 | 89.3 | 35.4 | 67.6859 | 939.4 | 934.2 | 937.5107 | 0 | 0 | 0 | 100 | Both Dry
2025-11-28 | 34.9 | 19.5 | 26.3933 | 92.2 | 36.7 | 64.9384 | 939.3 | 933.7 | 936.7458 | 0 | 0 | 0 | 100 | Both Dry
2025-11-29 | 36.4 | 19.9 | 27.5755 | 90.7 | 31.9 | 64.8921 | 938.1 | 931.7 | 935.1384 | 0 | 0 | 0 | 100 | Both Dry
2025-11-30 | 35.3 | 22.1 | 27.3362 | 92.8 | 36.5 | 66.1517 | 937.5 | 932.7 | 935.2414 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2025-12-01 | 33.2 | 21.4 | 26.3239 | 93.5 | 38.1 | 68.6432 | 938.3 | 933.3 | 936.2168 | 0 | 0.2 | 0.2 | 0 | Event Difference
2025-12-02 | 34.6 | 21.4 | 26.8817 | 92.3 | 34.8 | 66.2058 | 938.6 | 932.3 | 935.7326 | 0 | 0 | 0 | 100 | Both Dry
2025-12-03 | 34.5 | 21.2 | 24.9947 | 93.2 | 37.9 | 77.6101 | 938.7 | 932.9 | 936.117 | 2.4 | 2.8 | 0.4 | 85.7 | Moderate Agreement
2025-12-04 | 34.5 | 20.1 | 26.6332 | 92.8 | 36.1 | 66.7463 | 939.6 | 934 | 936.9909 | 0 | 0 | 0 | 100 | Both Dry
2025-12-05 | 34.6 | 18.3 | 26.4902 | 93.6 | 33.8 | 65.1639 | 939.1 | 934.3 | 937.247 | 0 | 0 | 0 | 100 | Both Dry
2025-12-06 | 35.9 | 20.1 | 27.0382 | 88.6 | 31.8 | 62.8188 | 939.9 | 934.2 | 937.4029 | 0 | 0 | 0 | 100 | Both Dry
2025-12-07 | 35.8 | 19.4 | 26.3187 | 90.1 | 30.6 | 63.0276 | 940.1 | 934.4 | 937.5484 | 0 | 0 | 0 | 100 | Both Dry
2025-12-08 | 35.2 | 20 | 26.2833 | 88.9 | 37.5 | 67.5387 | 939.7 | 934.8 | 937.5291 | 0 | 0 | 0 | 100 | Both Dry
2025-12-09 | 36.4 | 19.6 | 26.7799 | 89.5 | 34.2 | 65.745 | 939.5 | 933.6 | 936.776 | 0 | 0 | 0 | 100 | Both Dry
2025-12-10 | 36 | 19.1 | 27.1202 | 92.4 | 34.5 | 65.1125 | 938.8 | 933.1 | 936.4335 | 0 | 0 | 0 | 100 | Both Dry
2025-12-11 | 35.6 | 21.9 | 27.5168 | 88.6 | 35.5 | 63.4522 | 938.6 | 932.1 | 935.8819 | 0 | 0 | 0 | 100 | Both Dry
2025-12-12 | 36.1 | 22.2 | 27.9226 | 79.7 | 34.4 | 61.3492 | 938.2 | 932.2 | 935.7462 | 0 | 0 | 0 | 100 | Both Dry
2025-12-13 | 35.6 | 21.2 | 26.2497 | 92.4 | 36.6 | 71.19 | 938.7 | 932.6 | 936.3907 | 11.8 | 14 | 2.2 | 84.3 | Moderate Agreement
2025-12-14 | 35.4 | 19.6 | 26.4602 | 95 | 32 | 67.0681 | 938.5 | 932 | 935.7422 | 0 | 0 | 0 | 100 | Both Dry
2025-12-15 | 35.9 | 18.2 | 26.6183 | 94.3 | 31.6 | 62.1043 | 937.3 | 931.2 | 934.7527 | 0 | 0 | 0 | 100 | Both Dry
2025-12-16 | 36.2 | 18.5 | 27.225 | 87.7 | 30.8 | 60.14 | 936.1 | 930.6 | 933.6416 | 0 | 0 | 0 | 100 | Both Dry
2025-12-17 | 37.1 | 22.8 | 27.9581 | 85.2 | 32.5 | 65.1027 | 937.3 | 930.4 | 934.6126 | 0 | 0 | 0 | 100 | Both Dry
2025-12-18 | 34.6 | 21.2 | 26.58 | 94.8 | 41 | 70.2787 | 938.9 | 932.6 | 936.556 | 3.6 | 4.4 | 0.8 | 81.8 | Moderate Agreement
2025-12-19 | 35.1 | 19.9 | 26.6927 | 90.5 | 36.5 | 67.1246 | 938.7 | 932.2 | 935.9718 | 0 | 0 | 0 | 100 | Both Dry
2025-12-20 | 35.5 | 21.6 | 26.8363 | 91 | 36.5 | 70.4528 | 936.2 | 930.2 | 934.2648 | 0.4 | 0.6 | 0.2 | 66.7 | Poor Agreement
2025-12-21 | 33.2 | 21 | 25.4467 | 96.2 | 44 | 78.1631 | 936.8 | 930.9 | 934.634 | 34.2 | 41.8 | 7.6 | 81.8 | Moderate Agreement
2025-12-22 | 32.2 | 21.2 | 25.5851 | 96 | 44.5 | 75.8136 | 936.8 | 931.9 | 934.8181 | 19.4 | 23.6 | 4.2 | 82.2 | Moderate Agreement
2025-12-23 | 31.7 | 21.2 | 25.6984 | 95.6 | 47.7 | 75.0618 | 937.9 | 932.4 | 935.3718 | 0 | 0 | 0 | 100 | Both Dry
2025-12-24 | 32.5 | 22.2 | 26.0619 | 91.7 | 48.2 | 73.0102 | 937.8 | 932.7 | 935.5304 | 0 | 0 | 0 | 100 | Both Dry
2025-12-25 | 33.1 | 21.8 | 26.2407 | 92 | 44.4 | 71.2778 | 937.9 | 932.5 | 935.3669 | 0 | 0 | 0 | 100 | Both Dry
2025-12-26 | 33.6 | 20.5 | 26.727 | 92.8 | 45.8 | 70.3408 | 937.3 | 931 | 934.6467 | 0 | 0 | 0 | 100 | Both Dry
2025-12-27 | 33.3 | 20.4 | 26.6778 | 94.8 | 47.9 | 73.1006 | 935.5 | 929.2 | 933.1731 | 0 | 0 | 0 | 100 | Both Dry
2025-12-28 | 29.6 | 20.2 | 23.7481 | 95.3 | 57.1 | 79.9692 | 936.8 | 933.3 | 935.1851 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2025-12-29 | 35.7 | 19.7 | 26.5123 | 91.3 | 37.5 | 69.6555 | 938.3 | 933.1 | 936.3357 | 0 | 0 | 0 | 100 | Both Dry
2025-12-30 | 35.6 | 20.2 | 25.6863 | 91.7 | 39.6 | 73.8584 | 939.6 | 934.2 | 937.6122 | 0 | 0 | 0 | 100 | Both Dry
2025-12-31 | 35.1 | 20 | 26.8341 | 91.6 | 36 | 66.2436 | 939.2 | 933.1 | 936.9589 | 0 | 0 | 0 | 100 | Both Dry
2026-01-01 | 33.8 | 20.3 | 26.1671 | 90.9 | 41.9 | 68.8478 | 939.5 | 933.7 | 936.8704 | 0 | 0 | 0 | 100 | Both Dry
2026-01-02 | 32.6 | 21.4 | 26.0562 | 92.4 | 46.5 | 71.7432 | 939.3 | 934.3 | 936.8949 | 0 | 0 | 0 | 100 | Both Dry
2026-01-03 | 33.7 | 21.9 | 27.0475 | 91.9 | 40.8 | 67.6123 | 937.8 | 931.8 | 935.0809 | 0 | 0 | 0 | 100 | Both Dry
2026-01-04 | 32.6 | 22.2 | 26.2653 | 91.2 | 44.9 | 70.8141 | 937.5 | 931.6 | 934.9675 | 0 | 0 | 0 | 100 | Both Dry
2026-01-05 | 35.1 | 20.2 | 26.8287 | 92.1 | 35.6 | 64.5844 | 939.3 | 933.3 | 936.3274 | 0 | 0 | 0 | 100 | Both Dry
2026-01-06 | 33.3 | 20.4 | 26.1287 | 90.6 | 36.8 | 64.9228 | 939.8 | 933.3 | 936.6497 | 0 | 0 | 0 | 100 | Both Dry
2026-01-07 | 34.6 | 21.2 | 27.0334 | 88.8 | 35.3 | 63.0176 | 938.1 | 932.7 | 936.0511 | 0 | 0 | 0 | 100 | Both Dry
2026-01-08 | 33.2 | 21.3 | 25.9324 | 91.9 | 37.4 | 67.7452 | 939.3 | 933.6 | 936.8125 | 0 | 0 | 0 | 100 | Both Dry
2026-01-09 | 32.4 | 18.9 | 25.0564 | 90.1 | 39.5 | 68.3883 | 940.4 | 934.5 | 937.7306 | 0 | 0 | 0 | 100 | Both Dry
2026-01-10 | 34.1 | 17.4 | 25.2335 | 85.9 | 35.3 | 58.6524 | 939.4 | 933.6 | 936.7292 | 0 | 0 | 0 | 100 | Both Dry
2026-01-11 | 35.8 | 16 | 25.9201 | 89.7 | 29.3 | 58.2422 | 938.2 | 932.8 | 936.1671 | 0 | 0 | 0 | 100 | Both Dry
2026-01-12 | 30.8 | 18.7 | 23.86 | 90.5 | 45.5 | 69.955 | 939.6 | 935.6 | 937.895 | 0 | 0 | 0 | 100 | Both Dry
2026-01-13 | 31.8 | 19.9 | 25.4306 | 89.8 | 41.3 | 64.5752 | 940.3 | 934.9 | 937.4889 | 0 | 0 | 0 | 100 | Both Dry
2026-01-14 | 33.2 | 18.2 | 25.9364 | 88.9 | 35.5 | 63.3045 | 938.9 | 933.3 | 936.3853 | 0 | 0 | 0 | 100 | Both Dry
2026-01-15 | 33.6 | 20.6 | 26.2732 | 90 | 36.3 | 64.676 | 938.1 | 932.6 | 935.6291 | 0 | 0 | 0 | 100 | Both Dry
2026-01-16 | 33.5 | 20.8 | 26.3707 | 89.2 | 38.4 | 64.756 | 938.4 | 933 | 935.6461 | 0 | 0.6 | 0.6 | 0 | Event Difference
2026-01-17 | 33.9 | 21.9 | 26.3161 | 91.8 | 41.1 | 69.7812 | 939.4 | 932.6 | 935.9736 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2026-01-18 | 34.1 | 21.7 | 26.405 | 88.3 | 40.2 | 67.8796 | 938 | 932.5 | 935.4026 | 0 | 0 | 0 | 100 | Both Dry
2026-01-19 | 33 | 21.8 | 25.8973 | 87.7 | 42.7 | 69.7517 | 937.6 | 932.4 | 935.4557 | 0 | 0 | 0 | 100 | Both Dry
2026-01-20 | 33.4 | 21.1 | 26.083 | 93.6 | 40.6 | 69.8954 | 937.9 | 932.1 | 935.2201 | 0 | 0 | 0 | 100 | Both Dry
2026-01-21 | 33.5 | 20.6 | 26.475 | 88.3 | 41.6 | 66.6309 | 938.6 | 933.4 | 936.2637 | 0 | 0 | 0 | 100 | Both Dry
2026-01-22 | 34.1 | 20.4 | 25.9475 | 94.4 | 37.9 | 69.0846 | 939.2 | 933.9 | 936.5124 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2026-01-23 | 35.2 | 20.4 | 26.6617 | 88.8 | 37 | 65.8398 | 940.3 | 934 | 936.9891 | 0 | 0 | 0 | 100 | Both Dry
2026-01-24 | 35.5 | 19.6 | 26.372 | 93.9 | 28.8 | 64.304 | 940.2 | 933.8 | 936.6899 | 0 | 0 | 0 | 100 | Both Dry
2026-01-25 | 36.8 | 20.5 | 27.1492 | 93.9 | 29.2 | 65.1986 | 939.3 | 932.9 | 935.9608 | 0 | 0 | 0 | 100 | Both Dry
2026-01-26 | 36.8 | 20.6 | 27.1043 | 90.5 | 34.6 | 64.7426 | 938 | 932.3 | 935.4988 | 0 | 0 | 0 | 100 | Both Dry
2026-01-27 | 32.8 | 19.8 | 25.5195 | 89.8 | 45.2 | 69.764 | 939.4 | 934.3 | 936.9313 | 0 | 0 | 0 | 100 | Both Dry
2026-01-28 | 34 | 20.2 | 25.8568 | 91.1 | 38.5 | 67.031 | 939.6 | 933.8 | 936.8934 | 0 | 0 | 0 | 100 | Both Dry
2026-01-29 | 35.5 | 17.4 | 26.3247 | 86.6 | 33.8 | 60.5528 | 939.6 | 933.6 | 936.7275 | 0 | 0 | 0 | 100 | Both Dry
2026-01-30 | 34.9 | 19.6 | 26.6452 | 93.5 | 34.9 | 64.0854 | 938.7 | 932.1 | 935.6515 | 0 | 0 | 0 | 100 | Both Dry
2026-01-31 | 34.6 | 17.5 | 26.3132 | 91.7 | 37.6 | 64.666 | 937.9 | 932.4 | 935.4299 | 0 | 0 | 0 | 100 | Both Dry
2026-02-01 | 35.1 | 21.5 | 26.6788 | 90 | 35.2 | 66.4856 | 939.3 | 934.1 | 936.885 | 0 | 0 | 0 | 100 | Both Dry
2026-02-02 | 34.5 | 21 | 26.6929 | 88.4 | 34.9 | 64.7411 | 940 | 934.8 | 937.5219 | 0 | 0 | 0 | 100 | Both Dry
2026-02-03 | 35.8 | 21.3 | 27.247 | 88.2 | 34.7 | 63.0141 | 939.4 | 934.2 | 937.0024 | 0 | 0 | 0 | 100 | Both Dry
2026-02-04 | 37.4 | 21.8 | 27.8015 | 87.9 | 31.2 | 61.2075 | 938.3 | 931.4 | 935.2125 | 0 | 0 | 0 | 100 | Both Dry
2026-02-05 | 34.6 | 21.1 | 26.5797 | 85.2 | 34.6 | 63.9179 | 938 | 932.8 | 935.6348 | 0 | 0 | 0 | 100 | Both Dry
2026-02-06 | 35.9 | 20.9 | 27.4167 | 86.8 | 32.6 | 61.9314 | 938.8 | 933.4 | 936.57 | 0 | 0 | 0 | 100 | Both Dry
2026-02-07 | 37.9 | 18 | 27.7098 | 89.4 | 30.1 | 60.4666 | 939.6 | 932.2 | 936.6617 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2026-02-08 | 36.8 | 21.3 | 27.5724 | 85.2 | 35.6 | 64.5945 | 939.1 | 931.9 | 935.9719 | 0 | 0 | 0 | 100 | Both Dry
2026-02-09 | 36.3 | 19 | 27.5603 | 88.9 | 28 | 51.5776 | 938.1 | 932.2 | 935.671 | 0 | 0 | 0 | 100 | Both Dry
2026-02-10 | 37 | 15.6 | 26.9882 | 76.7 | 21.7 | 42.4314 | 938.2 | 933.5 | 936.2152 | 0 | 0 | 0 | 100 | Both Dry
2026-02-11 | 36.5 | 15.8 | 26.5872 | 68.9 | 27.1 | 43.5436 | 939.1 | 934.3 | 937.2423 | 0 | 0 | 0 | 100 | Both Dry
2026-02-12 | 38.4 | 15.6 | 26.95 | 74.4 | 20.7 | 43.9363 | 939.7 | 932.8 | 936.5053 | 0 | 0 | 0 | 100 | Both Dry
2026-02-13 | 37.7 | 14.8 | 27.0169 | 85 | 22.4 | 49.4185 | 938.1 | 931.4 | 934.9977 | 0 | 0 | 0 | 100 | Both Dry
2026-02-14 | 36.2 | 19.2 | 27.0034 | 85.3 | 33.3 | 59.7464 | 938.2 | 932.3 | 935.5961 | 0 | 0 | 0 | 100 | Both Dry
2026-02-15 | 37.6 | 19.1 | 27.7304 | 87.8 | 27.7 | 59.2984 | 939.5 | 932.7 | 936.4594 | 0 | 0 | 0 | 100 | Both Dry
2026-02-16 | 38.8 | 19.6 | 28.2808 | 89.7 | 26.1 | 55.8799 | 938.1 | 931.4 | 935.0504 | 0 | 0 | 0 | 100 | Both Dry
2026-02-17 | 37.1 | 19 | 27.1994 | 84.7 | 32.2 | 61.3645 | 937.4 | 931 | 934.6035 | 0 | 0 | 0 | 100 | Both Dry
2026-02-18 | 34.8 | 21.3 | 26.819 | 86.9 | 38.7 | 67.2688 | 938.1 | 931.7 | 935.0896 | 0 | 0 | 0 | 100 | Both Dry
2026-02-19 | 38.5 | 21.1 | 28.3992 | 87.9 | 28.9 | 60.505 | 937.4 | 930.7 | 934.6937 | 0 | 0 | 0 | 100 | Both Dry
2026-02-20 | 37.5 | 22.1 | 26.2949 | 91.7 | 33.2 | 71.6091 | 938.5 | 931.4 | 935.5707 | 3.2 | 3.6 | 0.4 | 88.9 | Moderate Agreement
2026-02-21 | 33.9 | 21.8 | 25.1208 | 94.8 | 43.6 | 81.3698 | 937.8 | 931.6 | 934.9051 | 6 | 6.4 | 0.4 | 93.8 | Good Agreement
2026-02-22 | 31.9 | 21.5 | 24.111 | 96.5 | 57.3 | 86.1006 | 935.4 | 929.7 | 932.9377 | 1.6 | 1.6 | 0 | 100 | Good Agreement
2026-02-23 | 30.4 | 21.4 | 24.9502 | 95.3 | 48 | 73.8428 | 935.9 | 931.1 | 933.2328 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-02-24 | 33.8 | 21 | 25.0578 | 93.4 | 41.9 | 76.9253 | 936.1 | 931.1 | 933.4824 | 0.6 | 0.6 | 0 | 100 | Good Agreement
2026-02-25 | 32.1 | 20.3 | 23.452 | 95 | 54.2 | 85.844 | 936.3 | 932.1 | 934.5106 | 5.2 | 6.4 | 1.2 | 81.2 | Moderate Agreement
2026-02-26 | 35.2 | 19.3 | 26.5215 | 97.2 | 38.8 | 72.688 | 936.4 | 845.3 | 933.8739 | 18 | 21.2 | 3.2 | 84.9 | Moderate Agreement
2026-02-27 | 34.6 | 21.2 | 25.2805 | 96.5 | 40.6 | 79.5227 | 935.5 | 929.5 | 932.7972 | 6.2 | 7 | 0.8 | 88.6 | Moderate Agreement
2026-02-28 | 33.3 | 21.4 | 25.5126 | 95.4 | 46.8 | 79.6299 | 935 | 929.5 | 932.6236 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2026-03-01 | 34.1 | 20.9 | 25.4922 | 94.3 | 43.3 | 75.0299 | 936.9 | 931.4 | 934.4438 | 0.6 | 1 | 0.4 | 60 | Poor Agreement
2026-03-02 | 35.9 | 21.7 | 26.8911 | 93.4 | 39.7 | 70.9765 | 937.4 | 931.7 | 934.9064 | 0 | 0 | 0 | 100 | Both Dry
2026-03-03 | 36.1 | 21.5 | 26.7466 | 92.1 | 36.5 | 71.4482 | 936.6 | 930.7 | 934.1613 | 2 | 2.4 | 0.4 | 83.3 | Moderate Agreement
2026-03-04 | 34.6 | 20.9 | 25.0718 | 95.6 | 43 | 79.5844 | 936.6 | 931.6 | 934.5778 | 17.4 | 19.4 | 2 | 89.7 | Moderate Agreement
2026-03-05 | 29.1 | 21.6 | 23.0643 | 96.8 | 65.3 | 91.6973 | 937.3 | 932.1 | 935.0715 | 15.6 | 18.2 | 2.6 | 85.7 | Moderate Agreement
2026-03-06 | 29.3 | 20.8 | 23.5598 | 97.1 | 67 | 86.4797 | 936.7 | 931.9 | 934.3565 | 1.8 | 1.8 | 0 | 100 | Good Agreement
2026-03-07 | 28 | 20.5 | 23.8837 | 95.3 | 67 | 84.0929 | 936.5 | 932.1 | 934.4766 | 1.2 | 1.4 | 0.2 | 85.7 | Moderate Agreement
2026-03-08 | 33.9 | 20.6 | 24.2731 | 96.1 | 46.6 | 83.7386 | 936 | 931.6 | 934.4795 | 12.6 | 14.6 | 2 | 86.3 | Moderate Agreement
2026-03-09 | 31.9 | 20.6 | 24.931 | 96.6 | 53.4 | 81.2741 | 936.2 | 931.4 | 933.9481 | 0 | 0 | 0 | 100 | Both Dry
2026-03-10 | 33.4 | 21.5 | 25.4432 | 94.7 | 47.3 | 79.3823 | 936.6 | 931.8 | 934.1695 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2026-03-11 | 34.2 | 21.2 | 26.5547 | 95.5 | 46.7 | 76.1686 | 936.5 | 931.6 | 934.1145 | 9.6 | 11.2 | 1.6 | 85.7 | Moderate Agreement
2026-03-12 | 32.7 | 21.9 | 26.2894 | 96.1 | 52.2 | 78.2353 | 935.9 | 930.7 | 933.2966 | 0 | 0 | 0 | 100 | Both Dry
2026-03-13 | 34.6 | 20.7 | 27.092 | 95.1 | 49.1 | 74.9135 | 934 | 929.4 | 931.7218 | 0 | 0 | 0 | 100 | Both Dry
2026-03-14 | 32.1 | 22.5 | 25.5233 | 94 | 56.5 | 79.7636 | 935.3 | 931.1 | 932.8619 | 0 | 0 | 0 | 100 | Both Dry
2026-03-15 | 33.1 | 22.3 | 26.0329 | 91.3 | 46.7 | 74.7091 | 936.9 | 931.8 | 933.82 | 0 | 0 | 0 | 100 | Both Dry
2026-03-16 | 33.9 | 21.8 | 26.6141 | 92.1 | 44.5 | 73.4285 | 936.8 | 931.7 | 933.8053 | 0 | 0 | 0 | 100 | Both Dry
2026-03-17 | 33.4 | 22.7 | 26.8044 | 90.2 | 48 | 72.1261 | 935.3 | 930.1 | 932.6549 | 0 | 0 | 0 | 100 | Both Dry
2026-03-18 | 33.9 | 22.1 | 25.3643 | 93.3 | 48.8 | 81.1697 | 935.4 | 929.7 | 932.818 | 4.4 | 5 | 0.6 | 88 | Moderate Agreement
2026-03-19 | 34.2 | 19.8 | 24.8918 | 95.8 | 50 | 81.2736 | 935.7 | 930.3 | 933.0065 | 39.6 | 42.2 | 2.6 | 93.8 | Good Agreement
2026-03-20 | 29.4 | 21.3 | 24.0949 | 96.7 | 63.3 | 86.3681 | 934.9 | 930.7 | 932.8516 | 3 | 3.2 | 0.2 | 93.8 | Good Agreement
2026-03-21 | 30 | 21.6 | 24.401 | 93.2 | 61 | 82.2027 | 935.2 | 930.5 | 932.7052 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-03-22 | 32.7 | 20.1 | 25.4286 | 95.3 | 50.5 | 78.1621 | 934.9 | 930.3 | 932.6808 | 0 | 0 | 0 | 100 | Both Dry
2026-03-23 | 30.1 | 21.6 | 24.3239 | 95.6 | 62.1 | 86.3472 | 936.3 | 931.6 | 933.752 | 5 | 5.4 | 0.4 | 92.6 | Good Agreement
2026-03-24 | 32.1 | 20.6 | 24.8862 | 96.2 | 50.8 | 81.6681 | 936.2 | 931.2 | 933.4184 | 0.8 | 0.8 | 0 | 100 | Good Agreement
2026-03-25 | 31.2 | 20.4 | 24.1096 | 95.7 | 52.9 | 84.4977 | 935.1 | 929.8 | 932.1747 | 5.6 | 6 | 0.4 | 93.3 | Good Agreement
2026-03-26 | 33.1 | 21.7 | 26.1671 | 92.2 | 49.3 | 76.5522 | 936.6 | 932 | 934.2447 | 0 | 0 | 0 | 100 | Both Dry
2026-03-27 | 32.9 | 20.7 | 25.853 | 93.3 | 47.6 | 76.3091 | 938.5 | 933.8 | 935.8219 | 0 | 0 | 0 | 100 | Both Dry
2026-03-28 | 34.2 | 19 | 25.7645 | 95 | 44.9 | 72.7103 | 938 | 932.4 | 934.7201 | 0 | 0 | 0 | 100 | Both Dry
2026-03-29 | 34.9 | 18.6 | 26.2015 | 94.9 | 36.8 | 71.0852 | 936.3 | 930.8 | 932.7327 | 0 | 0 | 0 | 100 | Both Dry
2026-03-30 | 34.8 | 20.5 | 26.9943 | 92.9 | 40.3 | 71.1392 | 935.8 | 930.8 | 932.7904 | 0 | 0 | 0 | 100 | Both Dry
2026-03-31 | 34.6 | 20.9 | 26.9939 | 92.3 | 38 | 69.2756 | 936.8 | 931.5 | 933.5202 | 0 | 0 | 0 | 100 | Both Dry
2026-04-01 | 35.8 | 18.8 | 26.8422 | 93.1 | 38.6 | 69.0924 | 937.3 | 932.1 | 934.0242 | 0 | 0 | 0 | 100 | Both Dry
2026-04-02 | 35.4 | 20.8 | 27.0427 | 93.8 | 40.3 | 70.3028 | 937.3 | 932.5 | 934.222 | 0 | 0 | 0 | 100 | Both Dry
2026-04-03 | 36.9 | 21.9 | 27.5176 | 88.2 | 32.2 | 67.6661 | 937.5 | 932.6 | 934.1757 | 0 | 0 | 0 | 100 | Both Dry
2026-04-04 | 37.4 | 21.3 | 27.9621 | 89.3 | 35.1 | 64.7078 | 936.3 | 932.1 | 933.9401 | 0 | 0 | 0 | 100 | Both Dry
2026-04-05 | 36.6 | 22.4 | 27.7715 | 87.9 | 36.6 | 67.176 | 937.2 | 932.5 | 934.839 | 0 | 0 | 0 | 100 | Both Dry
2026-04-06 | 35.1 | 23.2 | 26.9331 | 88.4 | 41.8 | 70.8768 | 938.7 | 934.3 | 936.4011 | 0 | 0 | 0 | 100 | Both Dry
2026-04-07 | 34.6 | 22.1 | 27.248 | 88.8 | 40.6 | 69.2533 | 940.5 | 935 | 937.2497 | 0 | 0 | 0 | 100 | Both Dry
2026-04-08 | 36.6 | 20.5 | 25.1432 | 94.8 | 38.2 | 78.541 | 939 | 933 | 936.0826 | 40.6 | 47 | 6.4 | 86.4 | Moderate Agreement
2026-04-09 | 30.4 | 19.9 | 24.2802 | 94.7 | 63.2 | 82.4378 | 937.8 | 933.8 | 935.4865 | 5 | 5.4 | 0.4 | 92.6 | Good Agreement
2026-04-10 | 31.6 | 21.4 | 25.3685 | 91.1 | 52.1 | 77.6895 | 938.7 | 933.6 | 935.679 | 0 | 0 | 0 | 100 | Both Dry
2026-04-11 | 33.9 | 21.4 | 26.1272 | 92.4 | 43.8 | 74.6773 | 938.4 | 933.1 | 935.4119 | 0 | 0 | 0 | 100 | Both Dry
2026-04-12 | 36 | 19.8 | 26.456 | 95 | 38.7 | 73.9985 | 937 | 931.4 | 933.9593 | 0.2 | 0.2 | 0 | 100 | Good Agreement
2026-04-13 | 35 | 22.4 | 27.1413 | 90.2 | 40.7 | 71.0071 | 936.8 | 931.9 | 934.1518 | 0 | 0 | 0 | 100 | Both Dry
2026-04-14 | 34.9 | 21.7 | 26.2153 | 92 | 38.7 | 73.7236 | 936.9 | 932.1 | 934.2928 | 0 | 0 | 0 | 100 | Both Dry
2026-04-15 | 35.3 | 21.5 | 27.3383 | 89.3 | 38 | 67.5768 | 936.9 | 931 | 933.4058 | 0 | 0 | 0 | 100 | Both Dry
2026-04-16 | 36.2 | 21.9 | 26.3931 | 89.8 | 38.4 | 73.9136 | 935.8 | 929.8 | 932.7295 | 1.2 | 1.4 | 0.2 | 85.7 | Moderate Agreement
2026-04-17 | 35.6 | 22.6 | 26.7955 | 88 | 39.2 | 71.3916 | 936.2 | 930.5 | 933.2484 | 0 | 0 | 0 | 100 | Both Dry
2026-04-18 | 34.6 | 22.4 | 26.1434 | 88.9 | 43 | 74.4042 | 936.9 | 931.7 | 933.889 | 0 | 0 | 0 | 100 | Both Dry
2026-04-19 | 31.2 | 21.9 | 24.5215 | 94.7 | 58.3 | 81.9451 | 936.6 | 931.2 | 933.6708 | 6.6 | 7.4 | 0.8 | 89.2 | Moderate Agreement
2026-04-20 | 31.4 | 21.8 | 24.2985 | 95 | 55.4 | 84.9696 | 935.2 | 930.9 | 932.9072 | 0.8 | 0.6 | 0.2 | 75 | Poor Agreement
2026-04-21 | 32.8 | 21.2 | 25.9533 | 92.7 | 46.6 | 74.6829 | 936.5 | 931.8 | 933.7031 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-04-22 | 30.6 | 21.2 | 23.7723 | 91.2 | 59.7 | 81.8168 | 935.6 | 931.9 | 933.5034 | 0.6 | 0.6 | 0 | 100 | Good Agreement
2026-04-23 | 33.8 | 21.6 | 25.6813 | 85.6 | 39.4 | 68.8226 | 936.9 | 932 | 934.1119 | 0 | 0 | 0 | 100 | Both Dry
2026-04-24 | 33.3 | 20.8 | 26.1276 | 90.4 | 39 | 67.4672 | 935.3 | 931.6 | 933.1115 | 0 | 0 | 0 | 100 | Both Dry
2026-04-25 | 32.6 | 22.1 | 25.7392 | 87.2 | 46 | 71.374 | 936.6 | 932 | 934.2592 | 0 | 0 | 0 | 100 | Both Dry
2026-04-26 | 34.5 | 19.9 | 25.7677 | 91.4 | 43.1 | 72.5841 | 937.6 | 932.9 | 935.0282 | 0 | 0 | 0 | 100 | Both Dry
2026-04-27 | 34.9 | 20.8 | 25.7783 | 91.8 | 41.7 | 72.218 | 937.5 | 931.7 | 934.4385 | 0 | 0 | 0 | 100 | Both Dry
2026-04-28 | 36.4 | 19.9 | 27.2194 | 89.9 | 35.7 | 65.8699 | 936.3 | 931 | 933.9621 | 0 | 0 | 0 | 100 | Both Dry
2026-04-29 | 34.9 | 23 | 27.1723 | 82.7 | 40.2 | 67.1078 | 938.4 | 933.1 | 935.5377 | 0 | 0 | 0 | 100 | Both Dry
2026-04-30 | 33.2 | 22 | 25.9496 | 85.9 | 46.3 | 68.5982 | 938.8 | 934 | 936.3658 | 0 | 0 | 0 | 100 | Both Dry
2026-05-01 | 35 | 20.4 | 26.385 | 88.5 | 38.2 | 67.394 | 938.2 | 933.3 | 936.0016 | 0 | 0 | 0 | 100 | Both Dry
2026-05-02 | 35.7 | 21.1 | 26.6919 | 87.4 | 35.7 | 66.0897 | 938.9 | 933.8 | 936.5471 | 0 | 0 | 0 | 100 | Both Dry
2026-05-03 | 32.6 | 20.6 | 25.5719 | 88.1 | 45.5 | 68.8151 | 939.9 | 935.9 | 937.4082 | 0 | 0 | 0 | 100 | Both Dry
2026-05-04 | 29.6 | 22.1 | 24.5119 | 87.5 | 53.4 | 77.6019 | 939 | 934.1 | 936.3647 | 1.6 | 1.8 | 0.2 | 88.9 | Moderate Agreement
2026-05-05 | 33.6 | 19.9 | 26.4574 | 92.4 | 40.4 | 67.7682 | 937.7 | 933.2 | 935.1467 | 0 | 0 | 0 | 100 | Both Dry
2026-05-06 | 36.2 | 21.2 | 27.1006 | 89.5 | 36.8 | 67.1619 | 936.8 | 932.3 | 934.6354 | 0 | 0 | 0 | 100 | Both Dry
2026-05-07 | 34.9 | 22.1 | 25.7158 | 89.8 | 43.3 | 74.3109 | 936.7 | 931.8 | 934.2772 | 0 | 0 | 0 | 100 | Both Dry
2026-05-08 | 31.1 | 22 | 25.6029 | 85.6 | 53.4 | 71.1193 | 937.2 | 933.3 | 935.1985 | 0 | 0 | 0 | 100 | Both Dry
2026-05-09 | 36.1 | 22.2 | 26.7479 | 81.1 | 32.6 | 64.0987 | 938 | 932.7 | 935.6166 | 0 | 0 | 0 | 100 | Both Dry
2026-05-10 | 32.9 | 22.2 | 25.5319 | 81.4 | 40.8 | 66.9166 | 939.3 | 934.5 | 936.798 | 0 | 0 | 0 | 100 | Both Dry
2026-05-11 | 35.3 | 19.9 | 26.3182 | 90.6 | 37.4 | 66.0066 | 939.5 | 935 | 937.2915 | 0 | 0 | 0 | 100 | Both Dry
2026-05-12 | 36.3 | 18 | 26.6273 | 88 | 32 | 62.5117 | 939.8 | 934.2 | 937.1698 | 0 | 0 | 0 | 100 | Both Dry
2026-05-13 | 35.7 | 20.4 | 26.3634 | 85.2 | 30.2 | 62.431 | 939.2 | 934.4 | 936.9102 | 0 | 0 | 0 | 100 | Both Dry
2026-05-14 | 36.4 | 21.3 | 26.9279 | 84.4 | 29.8 | 61.4135 | 939.3 | 934.3 | 936.9869 | 0 | 0 | 0 | 100 | Both Dry
2026-05-15 | 35.1 | 21.5 | 26.5898 | 85.4 | 34.8 | 64.4362 | 939.6 | 933.8 | 936.7155 | 0 | 0 | 0 | 100 | Both Dry
2026-05-16 | 34.9 | 21.1 | 26.2555 | 82.2 | 36.6 | 63.8563 | 939 | 933.5 | 936.6503 | 0 | 0 | 0 | 100 | Both Dry
2026-05-17 | 33.9 | 18.6 | 25.7712 | 88.2 | 37.5 | 65.4539 | 939.2 | 934.7 | 937.211 | 0 | 0 | 0 | 100 | Both Dry
2026-05-18 | 35.2 | 21.1 | 26.6177 | 84.5 | 33.6 | 63.2851 | 939.7 | 934.6 | 937.0605 | 0 | 0 | 0 | 100 | Both Dry
2026-05-19 | 33.1 | 22 | 26.0182 | 84.8 | 41.6 | 66.5416 | 939.9 | 935.3 | 937.3555 | 0 | 0 | 0 | 100 | Both Dry
2026-05-20 | 36 | 20.9 | 26.4268 | 87 | 34.2 | 65.0461 | 940.4 | 935 | 937.6586 | 0 | 0 | 0 | 100 | Both Dry
2026-05-21 | 34 | 19.4 | 26.2694 | 90.4 | 33.5 | 61.7728 | 940.5 | 935.8 | 938.1043 | 0 | 0 | 0 | 100 | Both Dry
2026-05-22 | 33.3 | 20.9 | 25.7985 | 87.3 | 39.9 | 67.5685 | 941.2 | 936.1 | 938.5409 | 0 | 0 | 0 | 100 | Both Dry
2026-05-23 | 32.5 | 21.9 | 25.4094 | 85.2 | 42.5 | 69.3516 | 941.3 | 937.8 | 939.438 | 0 | 0 | 0 | 100 | Both Dry
2026-05-24 | 33.4 | 21 | 25.489 | 84 | 38 | 66.9068 | 942.2 | 937.3 | 939.7752 | 0 | 0 | 0 | 100 | Both Dry
2026-05-25 | 33.2 | 21 | 25.3346 | 84.7 | 38.3 | 67.3827 | 942 | 937.3 | 939.6364 | 0 | 0 | 0 | 100 | Both Dry
2026-05-26 | 33.6 | 20.4 | 25.1349 | 83.3 | 33.3 | 64.4177 | 941.6 | 936.6 | 939.2473 | 0 | 0 | 0 | 100 | Both Dry
2026-05-27 | 32.9 | 20.4 | 25.1286 | 84.4 | 38.5 | 65.3071 | 941.9 | 937.2 | 939.4877 | 0 | 0 | 0 | 100 | Both Dry
2026-05-28 | 33.9 | 20.6 | 25.4482 | 83.6 | 36.7 | 64.4849 | 942.3 | 937.7 | 939.9515 | 0 | 0.2 | 0.2 | 0 | Event Difference
2026-05-29 | 31.4 | 19.4 | 24.9597 | 83 | 42.2 | 63.9181 | 942.5 | 938.2 | 940.3116 | 0 | 0 | 0 | 100 | Both Dry
2026-05-30 | 31.1 | 21.2 | 24.7319 | 79.4 | 42.7 | 66.3463 | 941.9 | 937.3 | 939.6455 | 0 | 0 | 0 | 100 | Both Dry
2026-05-31 | 33.3 | 19.4 | 25.4932 | 83.1 | 39.2 | 63.2159 | 941.7 | 936.7 | 939.341 | 0 | 0 | 0 | 100 | Both Dry
2026-06-01 | 30.2 | 21 | 23.9957 | 89.4 | 46.9 | 69.7731 | 941.4 | 938.3 | 939.9305 | 0 | 0 | 0 | 100 | Both Dry
2026-06-02 | 30.2 | 21 | 24.202 | 84.3 | 45.1 | 68.0122 | 942 | 939 | 940.497 | 0 | 0 | 0 | 100 | Both Dry
2026-06-03 | 30.4 | 20.8 | 24.3675 | 82.8 | 48.3 | 67.3999 | 941.9 | 937.8 | 939.8979 | 0 | 0 | 0 | 100 | Both Dry
2026-06-04 | 33.6 | 21.1 | 25.6044 | 81.4 | 35.1 | 60.9384 | 941.2 | 936.4 | 938.7492 | 0 | 0 | 0 | 100 | Both Dry
2026-06-05 | 31.2 | 17.4 | 24.4648 | 89.6 | 45.6 | 66.2212 | 940.3 | 936.6 | 938.4762 | 0 | 0 | 0 | 100 | Both Dry
2026-06-06 | 34.3 | 18.4 | 25.3733 | 87.9 | 32.1 | 64.2715 | 941.3 | 936.9 | 939.5288 | 0 | 0 | 0 | 100 | Both Dry
2026-06-07 | 32.6 | 19.8 | 24.9579 | 85.4 | 40.7 | 66.8542 | 942.9 | 939.1 | 940.9901 | 0 | 0 | 0 | 100 | Both Dry
2026-06-08 | 31.4 | 17.2 | 24.2643 | 91.2 | 42.2 | 66.8684 | 943.2 | 938.3 | 940.562 | 0 | 0 | 0 | 100 | Both Dry
2026-06-09 | 32.4 | 20.2 | 24.7947 | 89.4 | 39.4 | 66.8022 | 941.5 | 936.8 | 939.3039 | 0 | 0.4 | 0.4 | 0 | Event Difference
2026-06-10 | 33.8 | 19.7 | 24.4375 | 91.9 | 35.9 | 70.7152 | 941.5 | 936.3 | 938.8338 | 0 | 0 | 0 | 100 | Both Dry
2026-06-11 | 30.8 | 20.9 | 23.9272 | 86.9 | 46.1 | 73.0449 | 941.7 | 937.3 | 939.5234 | 0 | 0 | 0 | 100 | Both Dry
2026-06-12 | 32.6 | 20.5 | 24.7486 | 84.6 | 38.8 | 66.013 | 942.3 | 937.2 | 939.8959 | 0 | 0 | 0 | 100 | Both Dry
2026-06-13 | 30.7 | 20.6 | 24.239 | 81.8 | 41.8 | 66.0957 | 942.9 | 938.8 | 940.9374 | 0 | 0 | 0 | 100 | Both Dry
2026-06-14 | 29.2 | 19 | 22.9127 | 90.7 | 46.8 | 70.1253 | 943.1 | 938.7 | 940.9192 | 0 | 0 | 0 | 100 | Both Dry
2026-06-15 | 32.9 | 18.2 | 24.448 | 85.4 | 26.1 | 57.8037 | 942.5 | 937.9 | 940.4578 | 0 | 0 | 0 | 100 | Both Dry
2026-06-16 | 33.1 | 18.5 | 24.665 | 80 | 33.2 | 61.5412 | 944.4 | 939.6 | 941.8065 | 0 | 0 | 0 | 100 | Both Dry
2026-06-17 | 31.4 | 20.4 | 24.892 | 81.2 | 38.7 | 63.515 | 943.1 | 939.3 | 941.1248 | 0 | 0 | 0 | 100 | Both Dry
2026-06-18 | 30.9 | 20.6 | 23.9591 | 83.3 | 41.9 | 67.474 | 942.1 | 937.2 | 939.4728 | 0 | 0 | 0 | 100 | Both Dry
2026-06-19 | 29.6 | 19.6 | 23.7546 | 84.8 | 45.9 | 68.6207 | 940.6 | 936.8 | 938.8757 | 0 | 0 | 0 | 100 | Both Dry
2026-06-20 | 28.9 | 19.8 | 23.747 | 82.1 | 44.7 | 65.9919 | 941.8 | 938 | 940.0401 | 0 | 0 | 0 | 100 | Both Dry
2026-06-21 | 29.1 | 17 | 22.1649 | 88.8 | 43.2 | 67.0605 | 942.1 | 937.7 | 940.0225 | 0 | 0 | 0 | 100 | Both Dry
2026-06-22 | 30.5 | 18.4 | 23.7371 | 83.5 | 34.8 | 60.0496 | 942.3 | 937.2 | 940.0319 | 0 | 0 | 0 | 100 | Both Dry
2026-06-23 | 31.6 | 20.1 | 24.1186 | 80.1 | 36.1 | 63.293 | 942.3 | 938 | 940.0633 | 0 | 0 | 0 | 100 | Both Dry
2026-06-24 | 29.9 | 20.5 | 23.6431 | 82.7 | 44.4 | 65.6813 | 942.7 | 938.9 | 940.8448 | 0 | 0 | 0 | 100 | Both Dry
2026-06-25 | 30.2 | 19.3 | 23.8956 | 83.2 | 42 | 64.8558 | 943.3 | 938.7 | 940.8813 | 0 | 0 | 0 | 100 | Both Dry
2026-06-26 | 33.5 | 17.4 | 24.1308 | 87.2 | 29.9 | 61.2417 | 943 | 937.1 | 940.2809 | 0 | 0 | 0 | 100 | Both Dry
2026-06-27 | 33.4 | 17.1 | 24.4113 | 83.8 | 26.4 | 54.0987 | 942.5 | 936.7 | 939.8657 | 0 | 0 | 0 | 100 | Both Dry
2026-06-28 | 31.6 | 18.4 | 24.1875 | 85.6 | 36.6 | 63.4848 | 942 | 936.9 | 939.6425 | 0 | 0 | 0 | 100 | Both Dry
2026-06-29 | 31.8 | 19.5 | 24.3824 | 87.8 | 37.8 | 64.0842 | 942 | 937 | 939.5519 | 0 | 0 | 0 | 100 | Both Dry
2026-06-30 | 32.2 | 20.3 | 24.2597 | 87.2 | 31.6 | 61.8184 | 942.3 | 937.3 | 939.6473 | 0 | 0 | 0 | 100 | Both Dry
2026-07-01 | 30.5 | 19.4 | 23.7805 | 83.2 | 35.3 | 61.7294 | 942 | 937.2 | 939.4965 | 0 | 0 | 0 | 100 | Both Dry
2026-07-02 | 32.8 | 18.6 | 23.8782 | 85.2 | 31.3 | 59.9483 | 942 | 936.7 | 939.6229 | 0 | 0 | 0 | 100 | Both Dry
2026-07-03 | 33.4 | 18.3 | 24.2141 | 86.3 | 29.8 | 60.6294 | 942.6 | 937.2 | 940.3044 | 0 | 0 | 0 | 100 | Both Dry
2026-07-04 | 26.4 | 20.4 | 22.8033 | 74.7 | 48.3 | 60.1773 | 943 | 938.8 | 940.692 | 0 | 0 | 0 | 100 | Both Dry
2026-07-05 | 27.5 | 18.1 | 22.7954 | 80.1 | 43.4 | 59.9551 | 942.7 | 938.6 | 940.8106 | 0 | 0 | 0 | 100 | Both Dry
2026-07-06 | 32.7 | 15.4 | 23.9861 | 85.8 | 32.8 | 61.8309 | 943.4 | 939.4 | 941.846 | 0 | 0 | 0 | 100 | Both Dry
2026-07-07 | 29.6 | 19 | 22.9099 | 93.6 | 47 | 71.5246 | 944.7 | 940.8 | 942.849 | 0 | 0.8 | 0.8 | 0 | Event Difference
2026-07-08 | 28.4 | 18.6 | 23.0262 | 95 | 50.7 | 73.8642 | 943.5 | 938.9 | 941.0213 | 0 | 1.6 | 1.6 | 0 | Event Difference
2026-07-09 | 28.8 | 19.9 | 23.4563 | 87.2 | 47.3 | 69.9865 | 941.1 | 937.1 | 939.1932 | 0 | 0 | 0 | 100 | Both Dry
2026-07-10 | 28.2 | 19.9 | 23.1252 | 86 | 49.2 | 69.5374 | 942.1 | 938.1 | 939.915 | 0 | 0 | 0 | 100 | Both Dry
2026-07-11 | 30.4 | 17.3 | 23.874 | 82.3 | 40.1 | 62.1555 | 941.9 | 937.3 | 939.7541 | 0 | 0 | 0 | 100 | Both Dry
2026-07-12 | 34.4 | 16 | 24.1853 | 89.2 | 27.5 | 59.2694 | 941.4 | 935.7 | 938.8507 | 0 | 0 | 0 | 100 | Both Dry
2026-07-13 | 32.6 | 18 | 24.1089 | 85.8 | 28.6 | 59.3362 | 941.4 | 936.5 | 939.0558 | 0 | 0 | 0 | 100 | Both Dry
2026-07-14 | 27.9 | 18.9 | 22.9335 | 80.9 | 46.5 | 65.105 | 942 | 938 | 939.9214 | 0 | 0 | 0 | 100 | Both Dry
2026-07-15 | 30.6 | 19.5 | 23.8165 | 85.9 | 39.2 | 66.8412 | 942 | 937.7 | 940.1746 | 0 | 0 | 0 | 100 | Both Dry
2026-07-16 | 33.2 | 17.2 | 24.456 | 82.5 | 29.6 | 60.9053 | 942.8 | 936.7 | 940.164 | 0.4 | 0.4 | 0 | 100 | Good Agreement
2026-07-17 | 28.8 | 19.6 | 23.4036 | 80.5 | 39.9 | 63.4479 | 942.3 | 937.1 | 939.9698 | 0 | 0 | 0 | 100 | Both Dry
2026-07-18 | 32.9 | 17.8 | 24.0191 | 87.2 | 29.6 | 61.2368 | 942.2 | 936.7 | 939.655 | 0 | 0 | 0 | 100 | Both Dry
2026-07-19 | 32.6 | 18.8 | 24.3523 | 81.7 | 35.1 | 61.0546 | 941.4 | 935.7 | 938.6726 | 0 | 0 | 0 | 100 | Both Dry
2026-07-20 | 30.7 | 17.6 | 23.4249 | 87.3 | 37.5 | 63.0635 | 940.7 | 936.2 | 938.4491 | 0 | 0 | 0 | 100 | Both Dry
2026-07-21 | 33.4 | 15.9 | 24.1979 | 89.6 | 34.3 | 62.239 | 940.7 | 936 | 938.477 | 0 | 0 | 0 | 100 | Both Dry
2026-07-22 | 30.9 | 19.6 | 23.5138 | 83.7 | 44 | 67.5892 | 942.2 | 938.3 | 940.1932 | 2.4 | 5 | 2.6 | 48 | Poor Agreement
2026-07-23 | 27.9 | 17.4 | 22.7156 | 80 | 44.6 | 63.3036 | 942.4 | 938.5 | 940.2738 | 0 | 0 | 0 | 100 | Both Dry
2026-07-24 | 33.6 | 16.9 | 24.0704 | 87.7 | 34.2 | 63.1806 | 941.6 | 936.5 | 939.494 | 0 | 0 | 0 | 100 | Both Dry
2026-07-25 | 28.9 | 20.2 | 23.7263 | 83.2 | 42.8 | 65.301 | 941.8 | 937.3 | 939.6485 | 0 | 0 | 0 | 100 | Both Dry
2026-07-26 | 33.5 | 18.9 | 24.1748 | 83.6 | 33.1 | 63.4593 | 942.4 | 936.5 | 939.4664 | 0 | 0 | 0 | 100 | Both Dry
2026-07-27 | 31.1 | 20.1 | 23.5336 | 79.9 | 38 | 64.2205 | 941.4 | 936 | 938.7586 | 0 | 0 | 0 | 100 | Both Dry
2026-07-28 | 31.2 | 18.6 | 23.402 | 81.8 | 36.3 | 62.774 | 941.3 | 936.4 | 939.328 | 0 | 0 | 0 | 100 | Both Dry
2026-07-29 | 32.9 | 19.2 | 23.9775 | 83.3 | 32.7 | 62.1258 | 942.9 | 937.3 | 940.4919 | 0 | 0 | 0 | 100 | Both Dry
2026-07-30 | 32.5 | 19 | 23.9248 | 80.4 | 33.3 | 60.6087 | 942.9 | 937.6 | 940.3794 | 0 | 0 | 0 | 100 | Both Dry
2026-07-31 | 19.1 | 19.1 | 19.1 | 77.2 | 77.2 | 77.2 | 939.9 | 939.9 | 939.9 | 0 | 0 | 0 | 100 | Both Dry

## Processing Information
PROCESSING INFORMATION
Toolkit Version | 3DPAWS Validation Toolkit v1.0
Processing Date | 2026-08-13 20:20:12
Station | FEWSNET Kenya VOI Mengo Primary School
Input File | kenya-voi-mengo-primary-school_inst-id-66.csv
Observation Period | Unknown
Records Processed | 485219
Columns Loaded | 25
Days Generated | 344
Validation Sections | 7
Overall Status | WARNING
FILES GENERATED
Daily Summary Workbook | Generated
Validation Workbook | Generated
Validation Summary CSV | Generated
Processing Log | Generated
SYSTEM INFORMATION
Python | 3.10.10
Pandas | 2.3.0
OpenPyXL | 3.1.5