APPENDIX J

VALIDATION TOOLKIT AND SOFTWARE DOCUMENTATION

3D-PAWS Validation, Network Aggregation and Reporting Workflow

# J.1 Purpose of the Validation Toolkit

The 3D-PAWS Validation Toolkit was developed to provide a structured and reproducible software workflow for evaluating observations from the 3D-PAWS network against corresponding KMD reference observations. The toolkit supports station-level validation, network-level aggregation, statistical summarisation and generation of the results used in Chapter 7 of this study.

The workflow was designed to retain station-level differences rather than averaging them away. This allows the performance of individual stations and parameters to be examined while also providing an overall assessment of the network.

# J.2 Software Workflow

The validation workflow consists of four principal stages: station-level processing, network aggregation, network summarisation, and consolidated reporting.

| Stage | Component | Main function | Output |
| --- | --- | --- | --- |
| 1 | run_validation.py | Loads and processes station observations and performs station/reference comparison. | Station-level statistics and comparison outputs |
| 2 | network_aggregation.py | Combines station-level statistics into a master network dataset. | all_station_statistics.csv; station_summary.csv |
| 3 | network_summary.py | Summarises performance by parameter, group and assessment category. | parameter_network_summary.csv; group_network_summary.csv; assessment_summary.csv; station_parameter_summary.csv |
| 4 | network_report.py | Generates the consolidated Chapter 7 results document. | 3DPAWS_Chapter_7_Results.docx |

# J.3 Input Data and Station-Level Processing

The toolkit processes station datasets containing 3D-PAWS observations and corresponding KMD reference observations. The station datasets were evaluated over the available common periods. The resulting statistics were stored as station-specific *_statistics.csv files.

The principal statistics retained include paired observations, missing observations, coverage, bias, mean absolute error (MAE), root mean square error (RMSE), correlation and, where calculated, R².

# J.4 Parameters Evaluated

| Group | Parameters | Units |
| --- | --- | --- |
| Temperature | Tmax, Tmin, Tmean | °C |
| Humidity | RH_Max, RH_Min, RH_Mean | % |
| Pressure | Pressure_Max, Pressure_Min, Pressure_Mean | hPa |
| Rainfall | Rainfall_RG1, Rainfall_RG2 | mm |

Rainfall was treated separately from continuous meteorological variables because zero rainfall is a valid observation rather than a missing value. Zero rainfall observations were therefore retained, while negative rainfall values were treated as invalid under the quality-control rule used by the toolkit.

# J.5 Statistical Measures

| Metric | Description |
| --- | --- |
| Paired observations | Number of valid paired 3D-PAWS and KMD observations used in the comparison. |
| Missing | Number of observations for which a valid comparison could not be made. |
| Coverage (%) | Percentage of available observations represented by valid paired observations. |
| Bias | Mean signed difference between the 3D-PAWS observation and the corresponding KMD reference observation. |
| MAE | Mean absolute difference between the 3D-PAWS and KMD observations. |
| RMSE | Square root of the mean squared difference between the two datasets. |
| Correlation | Measure of the linear association between 3D-PAWS and KMD observations. |
| R² | Coefficient of determination where calculated by the toolkit. |

# J.6 Assessment Framework

The toolkit classifies parameter comparisons using the assessment categories Breakthrough, Threshold and Below Threshold. The classification is based on the applicable WMO criterion and the threshold values defined in the toolkit.

| Assessment | Interpretation |
| --- | --- |
| Breakthrough | Performance meets the strongest assessment level defined by the toolkit. |
| Threshold | Performance meets the specified threshold criterion. |
| Below Threshold | Performance does not meet the specified threshold criterion. |

# J.7 Network Aggregation

After station-level processing, the network aggregation script searches the station output directories for *_statistics.csv files and combines the available records into a master network dataset while preserving station and parameter identifiers.

python network_aggregation.py

The aggregation used for Chapter 7 loaded eight station statistics files, producing 79 station-parameter records with zero duplicate station-parameter records.

| Station | Period | Records |
| --- | --- | --- |
| ELDORET | 2024-08 to 2026-07 | 11 |
| GARISSA | 2024-08 to 2026-05 | 11 |
| KITALE - NEW | 2024-10 to 2026-07 | 11 |
| KITUI | 2024-08 to 2026-07 | 5 |
| MSABAHA AGROMET STATION | 2024-08 to 2026-07 | 11 |
| MTWAPA AGROMET STATION | 2024-08 to 2026-07 | 11 |
| NAROK | 2024-08 to 2026-07 | 11 |
| NYAHURURU AGROMET STATION | 2024-08 to 2026-07 | 8 |

# J.8 Network Summary Generation

The network_summary.py component generates parameter-level, group-level, assessment-level and station-parameter summaries from the master dataset.

python network_summary.py

The parameter summary contains the number of stations evaluated, coverage statistics, bias, MAE, RMSE, correlation ranges and assessment counts for each parameter.

# J.9 Network Results Used in Chapter 7

| Parameter group | Records | Stations represented |
| --- | --- | --- |
| Temperature | 24 | 8 |
| Humidity | 21 | 7 |
| Pressure | 18 | 6 |
| Rainfall | 16 | 8 |
| Total | 79 | 8 stations overall |

| Assessment | Records | Percentage |
| --- | --- | --- |
| Breakthrough | 5 | 6.33% |
| Threshold | 13 | 16.46% |
| Below Threshold | 61 | 77.22% |
| Total | 79 | 100.00% |

# J.10 Generated Output Files

| File | Purpose |
| --- | --- |
| all_station_statistics.csv | Master station-parameter validation dataset. |
| station_summary.csv | Summary of stations included in the network dataset. |
| parameter_network_summary.csv | Network statistics summarised by parameter. |
| group_network_summary.csv | Network statistics summarised by parameter group. |
| assessment_summary.csv | Counts and percentages for assessment categories. |
| station_parameter_summary.csv | Station-by-parameter summary used for detailed interpretation. |
| 3DPAWS_Chapter_7_Results.docx | Consolidated Chapter 7 results report generated from the network outputs. |

# J.11 Output Directory Structure

output/
└── Network_Validation/
    ├── Results/
    │   ├── all_station_statistics.csv
    │   ├── station_summary.csv
    │   ├── parameter_network_summary.csv
    │   ├── group_network_summary.csv
    │   ├── assessment_summary.csv
    │   └── station_parameter_summary.csv
    └── Reports/
        └── 3DPAWS_Chapter_7_Results.docx

# J.12 Station-Level Results Structure

Station-level outputs are retained under station-specific output directories. The toolkit uses these files as the source for network aggregation. A typical station output contains a Comparison_Graphs directory, a period-specific Results directory and a *_statistics.csv file.

output/
└── Stations/
    └── <STATION>/
        └── Comparison_Graphs/
            └── <PERIOD>/
                └── Results/
                    └── <STATION>_<PERIOD>_statistics.csv

# J.13 Reproducibility and Execution Sequence

The principal execution sequence used to produce the Chapter 7 results was:

Prepare and process the station datasets using the station-level validation workflow.

Confirm that station-specific *_statistics.csv files have been generated.

Run network_aggregation.py to create the master network dataset.

Run network_summary.py to generate parameter, group, assessment and station summaries.

Run network_report.py to compile the consolidated Chapter 7 results document.

python network_aggregation.py
python network_summary.py
python network_report.py

# J.14 Final Network Aggregation Output

The final aggregation run used for Chapter 7 reported eight stations, 79 station-parameter records and zero duplicate station-parameter records.

output\Network_Validation\Results\all_station_statistics.csv

The consolidated Chapter 7 report is generated at:

output\Network_Validation\Reports\3DPAWS_Chapter_7_Results.docx

# J.15 Quality-Control and Interpretation Considerations

The toolkit preserves differences among stations and parameters so that network-level statistics do not conceal localized performance limitations. Coverage is reported together with error and correlation metrics because high correlation alone does not necessarily indicate small measurement errors. Similarly, high data availability does not by itself establish measurement accuracy.

Rainfall results require particular care because zero rainfall is a valid observation. Rainfall comparisons therefore retain valid zero values and interpret rainfall performance using paired observations, coverage and gauge-to-reference consistency.

# J.16 Limitations of the Toolkit Results

The toolkit results depend on the availability and temporal overlap of the 3D-PAWS and KMD reference datasets. Differences in station periods and parameter availability therefore result in different numbers of evaluated parameters across stations. The network summary should consequently be interpreted as an aggregation of the available validated records rather than as a claim that all parameters were evaluated at every station for identical periods.

The statistical outputs are intended to support the validation and interpretation presented in Chapter 7 and should be considered together with station-specific time-series plots, scatter diagrams, coverage statistics and field deployment information.

# J.17 Relationship to Chapter 7

The validation toolkit provides the computational basis for Chapter 7. Station-level statistics support detailed case-study interpretation, while the aggregated master dataset and network summaries support the overall assessment of the eight-station network. The generated tables and graphical outputs are therefore linked directly to the results and discussion presented in Chapter 7.

End of Appendix J